Shaqodoon Organization

Tender Advertisement

### Title: Procurement of Automatic Weather Station and Water Sensors

Organization: Shaqodoon Organization

Office Location: Mogadishu, Somalia

Date:

1. Background

Shaqodoon is a local non-for-profit organization founded in 2011 to provide innovative and long-lasting solutions to the Somali youth livelihood challenges, with beneficiaries coming from different socio-economic groups (pastoralists, agro-pastoralists, urban & peri-urban, rural etc) and different clan affiliations. As a service provider and a platform, the organisation is dedicated to providing skill development, employment services, youth entrepreneurship, private sector business development, and technology for development. Shaqodoon has been an innovation turn key improving early warning (packaging hazard information & dissemination), early action/ anticipatory action (financing community adaptation action plans using local resources mobilised from the Somali people) and areas of risk financing (Incentivised savings & lobbying banks to de-risk/ climate proofing livestock value chain interventions targeting agro & nomadic pastoralists) and supporting disaster preparedness sensitive government budgeting processes.

Shaqodoon Organization is seeking to procure one automatic weather station and two water sensors as part of our commitment to enhance data collection for environmental monitoring and improve weather-related data collection capacities.

2. Objective

The objective of this tender is to solicit bids from qualified vendors for the supply, delivery, and installation of one automatic weather station and two water sensors, meeting the specified technical requirements listed below.

3. Equipment Specifications

Vendors are required to adhere to the following specifications for the automatic weather station and water sensors:

| Equipment | Description | Specification of Equipment |
| --- | --- | --- |
| Automatic Weather Station | Weather data collection system with capability to capture multiple meteorological parameters. | -Low power consumption datalogger with UMTS/LTE support -Analog and digital input interfaces - RS485, 4-20mA output |
| Water Sensor (Type 1) | Piezometric water level sensor with lightning protection and specified cable length. | -Pressure range: 18 mH2O -Cable length: 20 meters - Electrical output: RS485 or 4-20mA |
| Water Sensor (Type 2) | Piezometric water level sensor with enhanced depth capability for various water level measurements. | -Pressure range: 28 mH2O -Cable length: 30 meters - Electrical output: RS485 or 4-20mA |

4. Scope of Work

The vendor will be responsible for:

- Supplying the equipment as per the specifications

- Packaging and delivering the equipment to the Shaqodoon Organization, Mogadishu Office

- Ensuring compliance with the warranty and calibration standards

5. Eligibility Criteria

- Vendors must have prior experience in supplying meteorological and hydrological equipment.

- Proof of similar work with reputable clients within the last three years.

- Compliance with warranty and service support standards as outlined in the specifications.

6. Submission Guidelines

Interested vendors should submit:

- Technical proposal, including product details and compliance with specifications.

- Delivery timeline.

- Company profile with relevant experience.

7. Selection Criteria

The selection will be based on:

- Technical compliance with specifications

- Vendor’s experience and capability

- Timeline for delivery and warranty terms