## Table 1
Construction of BOREHOLE
Bill of Quantity
S.No | Description | Unit | Qty | Rate | Amount
1 | Excavation of well to a depth of 9m and 2.5m diameter, INCASE OF RICH aquiver at the bottom of the well, use 3'' centrifugal water pump for dewatering while digging . | M3 | 49 |  | 0
2 | Cast 15cm thick RCC rings dia 2m and 0.60m high for the top layers of the well. | M3 | 9.621 |  | 0
3 | Place 8mm to 15mm diameter round gravel at the empty gap between concrete rings and the hardcore stones fill | M3 | 6 |  | 0
4 | Place gravel with hard cores at the bottom of the well hole in the perforated rings | M3 | 1 |  | 0
5 | 40cm thick rubble walling jointed in cement and sand mortar (1:3) complete with 20mm cement and sand (1:3) on the apron area. | M3 | 5 |  | 0
6 | Cast 15cm Thick RCC cover slab, 1.50m diameter with 0.50m by 0.60m manhole and 2holes 2inch to 4inch dia. For pipe lines incase to be require include all covers | M3 | 1.06 |  | 0
7 | 60CM x 50CM manhole metal cover lid with and including 12mm 'U' shaped mild steel lifting eye complete with thick angle ring (38x38x6mm | JOB | 1 |  | 0
8 | Well disinfection and cleaning this includes dewatering of the well by using centrifugal water pump | JOB | 1 |  | 0
9 | Back filling levelling and compaction at the apron area | M3 | 65.19 |  | 0
| Grand Total US$ |  |  |  | 0