## Borehole BoQ
BOQ for Rehabilitation of two boreholes and related civil works in Kismayo - Jubaland State
#. | Description of activity | Unit | QTY | Rate in USD | Amount in USD
A. | Borehole activities
1 | Electro-Mechanical Works
1.1 | Mobilization of plant and Equipment to the project site (s).Rate shall be inclusive of Demobilization after completion of the works. | Item | 2 |  | 0
1.2 | Procure and install atx 11kW Submersible pump with 250m head with water sensor. | Item | 2 |  | 0
1.3 | Replacement of borehole down pipes, | Item | 2 |  | 0
1.4 | Installation of rising main GI pipe 2” with all necessary fittings | Pcs | 66 |  | 0
1.5 | Providing and installation of water resistant cables with required fittings such as insolation type etc. | m | 480 |  | 0
2 | Well development
2.1 | Bailing, pumping, pressurizing and recirculation techniques to open the aquifer and ensure smooth flow of elevated water to the well. | Days | 2 |  | 0
2.2 | Construct mass concrete of 1:2:4 mixing ratio for the head of wall 1 m above the ground and cover the hole | m³ | 2 |  | 0
2.3 | Allow a sum for testing and commissioning of the borehole equipping works | Item | 2 |  | 0
2.4 | Visibility for both Donar logo and ADRA logo details will be shared during implementation, | ls | 1 |  | 0
| Total for Borehole |  |  |  | 0

## Reservoir water tank
BOQ for Rehabilitation of two borehole and related civil works in Kismayo - Jubaland State
BOQ FOR THE REHABILITATION WORKS:
# | Description of activity | Unit | QTY | Rate in USD | Amount in USD
Concrete water tank of 50m³ capacity
2 | Sub structure works
2.1 | General cleaning for all broken stones, trees, sharps and other material/ cleaning inside the ground water tank all thrown stones, other unwanted materials inside as per instruction of Engineer, | m² | 60 |  | 0
2.2 | Carefully strip off damaged internal & external plastering, including preparing surfaces for new plastering and removal of surplus as directed by Engineer. | m² | 44.78 |  | 0
2.3 | Repair the damaged concrete structures at rounded animal water trough with special approved repair material, | m³ | 44.78 |  | 0
2.4 | Supply and make two coats of plaster 25 mm thick for the internal walls and ceiling with cement sand mortar 1:3; all according to specification and the Engineer approval. | m³ | 44.78 |  | 0
2.5 | Repair all damaged UPVC pipes for water pipes from elevated water tank. The work include all tees, bends, and all required fittings and accessories works as directed and approved by Engineer. | Item | 1 |  | 0
2.6 | Supply and apply minimum 2 coats of high quality colored emulsion resist weather paint on the external & internal walls,The price includes removal of the damaged old paint, surface preparations, all according to specifications and the Engineer's instructions. | m² | 44.78 |  | 0
| Total for rehabilitation of ground water tank of 50m³ capacity |  |  |  | 0

## Animal trough BoQs
BOQ for Rehabilitation of two borehole and related civil works in Kismayo- Jubaland State
BOQ FOR THE REHABILITATION WORKS:
REHABILITATION OF ANIMAL TROUGH
#. | Description of activity | Unit | QTY | Rate in USD | Amount in USD
E. | Refurbishment of animal trough
1 | Refurbishment works
1.1 | General cleaning for all broken stones, trees, sharps and other material which are occupying the area where is going to be rehab animal trough | m² | 90 |  | 0
1.2 | Carefully strip off damaged internal & external plastering, including preparing surfaces for new plastering and removal of surplus as directed by Engineer. | m³ | 22.2 |  | 0
1.3 | Breaking and removing of damaged concrete pavement and preparing surfaces for new concrete casting as directed by Engineer. | m² | 18.5 |  | 0
1.4 | Mass concrete (1:3:6 mix ) in conc. floor slab 10cm thick and make it good level as per instruction by Engineer. | m³ | 1.8 |  | 0
1.5 | Construction of external & internal plastering, 25mm thick, for all constructed wall surfaces by cement / sand mix 1:5, with wood float finish. | m² | 22.2 |  | 0
1.6 | Removal old concrete casting pavement around three animal trough with supply and casting new concrete floor 10cm thick the price includes all required materials BRC mash as per instruction of Engineer. | ls | 1 |  | 0
1.7 | Apply two coats whitewashing paint to external wall surfaces of the animal trough | m² | 22.2 |  | 0
| Total for rehabilitation of three animal trough, 1 camel, 2 sheap/goat. |  |  |  | 0
| Total for construction of three animal trough |  |  |  | 0

## Solar System Installation
BOQ for Rehabilitation of two borehole and related civil works in Kismayo District- Jubaland State
BOQ FOR THE REHABILITATION WORKS:
INSTALLATION OF SOLAR SYSTEM
ITEM | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL in US$
1. | Mobilization of staff, equipment and materials to site | Item | 1 |  | 0
Main equipment (Supply and install)
2. | INVT On Grid Inverter (BG22KTR) EU Standard, Output Power: 22000W, Output Voltage: 380V AC, Warranty: 1 years | No | 1 |  | 0
3. | Supply and install (Mono550w solar panel) 16pcs per string , total 3 strings Power: 550W Voltage: 49V, Weight:25KG Size:2265*1260*35mm, Application Class: A Warranty: 5 years | No | 48 |  | 0
4. | Supply & Install aluminum Roof Mounting Structure frames-Imported standard, solar panels support structure to safely carry all the solar panels strategic to the solar rays. Solar panels support structure, The price includes concrete foundations as per instruction by Engineer. | Lum | 1 |  | 0
| Sub-total-1 |  |  |  | 0
Accessories (supply and install)
5 | DC Combiner Box, 6 Input 1output Warranty: 1 years | Unit | 1 |  | 0
6 | PV Cable, PV 4 mm2 | M | 400 |  | 0
8 | Accessories, Mc4, Cable tie, Autoswitch and etc. | Unit | 1 |  | 0
9 | B Meters DN40 water meter | No | 1 |  | 0
10 | Installation charges. | LS | 1 |  | 0
| Sub-total-2 |  |  |  | 0
| Total const for One Boreholes |  |  | 2 | 0
| Grand Total for two borehole pre-selected rehabilitation |  |  |  | 0

## Borehole summary sheet
Sno. | REFURBISHMENT BoQs SUMMARY
BOQ for rehabilitation of two borehole and related civil works in Kismayo District - Jubaland State of Somalia
| Item | QTY | Unit ¦Price | Total Price
1 | REHABILITATION OF TWO BOREHOLES | 2 | 1 | 0
2 | REHABILITATION OF GROUND WATER TANK | 1 | 1 | 0
3 | REHABILITATION OF ANIMAL TROUGH | 3 | 1 | 0
4 | REHABILITATION OF SOLAR SYSTEM INSTALLATION | 1 | 1 | 0
| GRAND TOTAL FOR REFURBISHMENT BoQs | 0 |  |  | 0