## MAIN BUILDING
1 | Ground floor
No | DESCRIPTION OF WORK | UNIT | QUANTITY | UNIT PRICE in US$ | TOTAL PRICE in US$
1 | Demolition works and earth work in excavation
1.1 | The contractor to mobilize all the required of tools, machineries, staff and materials, also to construct temporary office at site made of Iron sheet and demoilish the existing structures | LS | 1 |  | 0
1.1 | Clear the site from debris, demolition of unwanted structures, removal of rocks and loose materials and set out for the excavation, clearing of soft sand from the basket ball dimension | m² | 960 |  | 0
1.2 | Earthwork in excavation of trench for foundation of wall, in all kinds of soil and not exceeding 60cm depth and 40cm wide, including dressing of bottom and sides of trenches. Stack excavated soil clear from edges of excavation and subsequent back filling around masonry in 15cm layers with compaction and including disposal of surplus soil out of site as directed by engineer. | m³ | 60.744 |  | 0
1.3 | Earthwork in excavation of trench for column bases, in all kinds of soil and not exceeding 60cm depth , 150cm breadth and 120cm width, including dressing of bottom and sides of trenches. Stack excavated soil clear from edges of excavation and subsequent back filling around masonry in 15cm layers with compaction and including disposal of surplus soil out of site as directed by engineer. | m³ | 156 |  | 0
1.4 | Supply and lay 30cm hardcore with gravel blinding, well compacted to prepare for flooring | m³ | 486.906 |  | 0
Anti-termite treatment
1.5 | Gladiator or equal and approved chemical anti-termite treatment, executed complete by an approved specialist under a ten-year guarantee, to surfaces of hard-core | m² | 522.34 |  | 0
Damp-proof membrane
1.6 | 1000 gauge polythene or other equal and approved damp-proof membrane, laid over blinded hardcore (m.s) with 300mm side and end laps (measured nett-allow for laps) | m² | 522.34 |  | 0
| Sub-total |  |  |  | 0
2 | Foundation lean concrete
2.1 | Lay at the bottom of excavated trenches 50mm blinding lean concrete 1:4:8 | m³ | 9.337 |  | 0
| Sub-total |  |  |  | 0
3 | Reinforcement Cement Concrete (RCC) works
3.1 | RCC work for column footing with mix proportion of 1:2:4 (1 cement : 2 clean coarse sand : 4 stone aggregate of 25mm down)and including high yield deformed steel, 7 numbers 12mm dia bottom bars at equal centers of 20cm in both directions and 7 numbers 12mm dia top bars at equal centers of 20cm in both directions including centering and shuttering complete. | m³ | 97.5 |  | 0
3.3 | R.C.C. work (40x50)cm for Strip beam with cement concrete 1:2:4 (1 cement : 2 clean coarse sand : 4 stone aggregate of 25mm down) , including 4 numbers Y12mm dia steel bars and 8mm stirrups @20cm centers including centering and shuttering complete. | m³ | 50.62 |  | 0
3.2 | RCC work for column starter ( Neck) (20x60*39)cm with mix proportion of C30 and including shuttering and 8 numbers of Y16mm dia steel bars and 8mm strirrups @20cm center to center. | m³ | 6.84 |  | 0
3.3 | R.C.C. work (40x20)cm for ground beam with cement concrete 1:2:4 (1 cement : 2 clean coarse sand : 4 stone aggregate of 25mm down) , including 4 numbers Y12mm dia steel bars and 8mm stirrups @20cm centers including centering and shuttering complete. | m³ | 20.248 |  | 0
3.4 | PCC work (10 cm thick) for ground floor slab with cement concrete 1:2:4 (1 cement : 2 clean coarse sand : 4 stone aggregate of 25mm down) with 8mm dia bars | m³ | 5.6926 |  | 0
3.5 | RCC work (20x60x400)cm for 39 clumns with mix proportion of C30 and including shuttering and 8 numbers of Y16mm dia steel bars and 8mm stirrups @20 centering. | m³ | 18.72 |  | 0
3.6 | RCC work for the staircase and links of Y8 placed at 20cm c/c , complete with finishings | Ls | 1 |  | 0
3.7 | RCC work (20x20)cm for lintel above windows and doors with cement concrete 1:2:4 (1 cement : 2 clean coarse sand : 4 stone aggregate of 25mm down) , including shuttering work and reinforcement bars of 4Y12 and links of Y8 placed at 20cm c/c , | m³ | 10.124 |  | 0
3.8 | 100mm thick apron concrete base around the main building block | m132 | 15.615 |  | 0
3.9 | RCC work 20cm suspended roof slab, C30 , including shuttering work and reinforcement bars with suspended beams. | m³ | 127.1322 |  | 0
| Sub-total |  |  |  | 0
4 | Masonry Work
4.1 | Construct stone wall in foundation, 40cm thickness bedded and jointed with cement sand mortar of 1:4 proportion (1 cement: 4 clean coarse sand) up to a height of 60cm. Face of wall should be in plumb. Corner stone should be good stones dressed to correct angles and laid as headers and stretchers. Bond stones shall be provided 100cm c/c vertically and horizontally. Wall should be laid in courses of 40cm height. All the gaps between stones shall be filled with cement mortar and wall should be kept moist for a period of at least 10 days and should be protected from sun. | m³ | 121.488 |  | 0
4.2 | Construct hollow concrete block wall (20x20x40)cm , 3.5m high jointed with cement sand mortar of 1:4proportion (1 cement: 4 clean coarse sand) as per drawing. Face of wall should be in plumb. Corner block should be proper placed to correct angles and laid as headers and stretchers. The wall should be kept moist for a period of at least 10 days and should be protected from sun. | m2 | 1012.4 |  | 0
| Sub-total |  |  |  | 0
5 | Plastering and floor finishing
5.1 | Apply 20mm thick plastering in two coats of cement sand mortar on periphery walls (1.8m high) , both inside and outside. Walls should be cured at least for one week after 24 hours of plastering | m² | 1596.3 |  | 0
5.2 | Apply 25mm to 30mm thick cement and sand screed finished to floor surfaces to receive ceramic tiles (m.s) | m² | 522.34 |  | 0
5.3 | Supply and fix European rustic non slip porcelain floor tiles (60 x 60 cm) to regular pattern, bedding, and jointing with cement mortar (1:4), grouting joints of 2mm in matching coloured cement but joints straight both ways to screed beds, Size: | m² | 496.82 |  | 0
5.4 | Supply and fix European rustic slip porcelain floor tiles for toilets (30 x 30 cm) to regular pattern, bedding, and jointing with cement mortar (1:4), grouting joints of 2mm in matching coloured cement but joints straight both ways to screed beds, Size: | m² | 25.52 |  | 0
5.5 | Supply and fix European rustic slip porcelain wall tiles (30 x 30 cm) to regular pattern, bedding, and jointing with cement mortar (1:4), grouting joints of 2mm in matching coloured cement but joints straight both ways to screed beds, Size: | m² | 117.6 |  | 0
5.5 | Supply and Install 10 x 100mm high tile skirting with rounded top and coved at junction with floor | Lm | 897 |  | 0
| Supply and stall matrials and construct/weld external disable steel structure ramp to give access to the first floor complete with foundations and other structures | LS | 1 |  | 0
| Sub-total |  |  |  | 0
6 | Painting work
6.1 | Supply and apply two coats of white wash on all plastered surfaces | m² | 1596.3 |  | 0
6.2 | Supply and apply two coats of emulsion paint on all whitewashed area | m² | 1596.3 |  | 0
| Sub-total |  |  |  | 0
7 | Doors/windows
7.1 | Supply and install single leaf woodendoors in wooden frame complete with all fittings, hinges, locks and keys - door size 2100x900mm. | Nos | 9 |  | 0
7.2 | Supply and install double leaf woodendoors in wooden frame complete with all fittings, hinges, locks and keys - door size 2200mmx2100mm | Nos | 7 |  | 0
7.3 | Supply and install double leaf woodendoors in wooden frame complete with all fittings, hinges, locks and keys - door size 2200mmx2400mm | Nos | 1 |  | 0
7.4 | Supply and fix aluminum windows in aluminum frames, complete with shutters, fittings for Classes- Window size 800x2100mm, | Nos | 9 |  | 0
7.5 | Supply and fix aluminum windows in aluminum frames, complete with shutters, fittings for Classes and aluminum mesh- Window size 1.8x3.000mm, | m² | 91.8 |  | 0
7.6 | Supply and fix aluminum windows in aluminum frames, complete with shutters, fittings for Classes and aluminum mesh- Window size 1300x3000mm, | m² | 7.8 |  | 0
7.7 | Supply and fix aluminum windows in aluminum frames, complete with shutters, fittings for Classes and aluminum mesh- Window size 800x800mm, | m² | 5.76 |  | 0
7.8 | Supply and fix aluminum windows in aluminum frames, complete with shutters, fittings for Classes and aluminum mesh- staircase , | m² | 6.3 |  | 0
| Sub-total |  |  |  | 0
8 | Mechanical work
8.1 | Water Closet (WC) Suite
8.2 | 15mm diameter x 300mm long flexible connectors complete with integral chrome plated angle valve for connecting the sanitary fitting to water supply. To be as Cobra or equal and approved. | Nos | 9 |  | 0
8.3 | Chrome plated toilet roll holder as Dali size 140 x 110 x 160mm ref # BMA70 | Nos | 9 |  | 0
Pedestal Wash Hand Basin (WHB)
8.4 | Pedestal wash hand basin size 635 x 500mm with one tap hole, 32mm diameter chrome plated chain waste, chain stay hole, chrome plated mixer tap with pop-up waste as Tapis and heavy duty plastic bottle trap (32mm 'P' trap) with 75mm seal. As Nova or equal and approved. | Nos | 8 |  | 0
8.5 | 15mm diameter x 300mm long flexible connectors complete with integral chrome plated angle valve for connecting the sanitary fitting to water supply. To be as Cobra or equal and approved. | Nos | 9 |  | 0
Internal/ External Plumbing Works
8.6 | Provide PC Sum for Supply, deliver and install PP-R (Polypropylene Random Co-polymer) pipes, tubing and fittings as described and shown on the drawings. The pipes and fittings shall be produced as per DIN 8078 and DIN 16962, and shall meet or exceed the requirements of DVS 2207, current standards for PP-R installations and to the Engineers approval. The pipes will be pressure tested before the plastering of wall commences and as per the manufacturers recommended testing pressures. | LS | 1 |  | 0
INTERNAL/ External FOUL WATER DRAINAGE
8.7 | Provide PC sum for supply, deliver and install the following UPVC soil and waste systems, manhole constructions respectively with fittings fixed to Manufactures Printed instructions and manufactured by reputable manufacturers. Tenderers must allow in their pipework prices for all the couplings, clippings, connectors, joints etc. as required in the running lengths of pipework and also where necessary, for pipe fixing clips, holder bats plugged and screwed for the proper and satisfactory functioning of the system. | LS | 1 |  | 0
| Sub-total |  |  |  | 0
9 | Electrical work
9.1 | Supply, Install, Test, Commission and fixings of fluorescent light LED including permanent switches, wiring system, all necessary fixings and accessories complete in accordance with drawings and specifications | Nos | 44 |  | 0
9.2 | Supply, Install, Test, Commission and fixings of Single/ double switched socket outlet, 13A including permanent wiring system, all necessary fixings and accessories complete in accordance with drawings and specifications | Nos | 44 |  | 0
9.3 | Supply, Install, Test, Commission and fixings of fans including permanent switches, wiring system, all necessary fixings and accessories complete in accordance with drawings and specifications | Nos | 40 |  | 0
9.4 | Earthing for MDB including ECC, earth rod, pit as per Engineers requirements including for testing and commissioning of earthing system complete accessories | Nos | 1 |  | 0
9.5 | Air-condition units each 18-BTU, units to be fitted on 450mm height base as indicated on the plans, all pipes and cable must be hidden in the wall, the Air-con switch must be flush with the wall | Nos | 2 |  | 0
9.6 | Wall mounted LV panel with mild steel spray painted located at the switch room, constructed from HG,shall be complete & housing based on the requirements | Unit | 1 |  | 0
| Sub-total |  |  |  | 0
| Total Engineering cost estimate for ground floor building |  |  |  | 0
BILL OF QUANTITIES OF OFFICE BLOCK
2 | First floor
No | DESCRIPTION OF WORK | UNIT | QUANTITY | UNIT PRICE in US$ | TOTAL PRICE in US$
1 | Reinforcement Cement Concrete (RCC) works
1.1 | RCC work (20x60x400)cm for 39 clumns with mix proportion of C30 and including shuttering and 8 numbers of Y16mm dia steel bars and 8mm stirrups @20 centering. | m³ | 14.69 |  | 0
1.2 | RCC work for the staircase and links of Y8 placed at 20cm c/c , complete with finishings | Ls | 1 |  | 0
1.3 | RCC work (20x20)cm for lintel above windows and doors with cement concrete 1:2:4 (1 cement : 2 clean coarse sand : 4 stone aggregate of 25mm down) , including shuttering work and reinforcement bars of 4Y12 and links of Y8 placed at 20cm c/c , | m³ | 9.256 |  | 0
1.4 | RCC work 20cm suspended roof slab, C30 , including shuttering work and reinforcement bars with suspended beams. | m³ | 125.3668 |  | 0
| Sub-total |  |  |  | 0
2 | Masonry Work
2.1 | Construct hollow concrete block wall (20x20x40)cm , 3.5m high jointed with cement sand mortar of 1:4proportion (1 cement: 4 clean coarse sand) as per drawing. Face of wall should be in plumb. Corner block should be proper placed to correct angles and laid as headers and stretchers. The wall should be kept moist for a period of at least 10 days and should be protected from sun. | m2 | 975 |  | 0
| Sub-total |  |  |  | 0
3 | Plastering and floor finishing
3.1 | Apply 20mm thick plastering in two coats of cement sand mortar on periphery walls (1.8m high) , both inside and outside. Walls should be cured at least for one week after 24 hours of plastering | m² | 1521.5 |  | 0
3.2 | Apply 25mm to 30mm thick cement and sand screed finished to floor surfaces to receive ceramic tiles (m.s) | m² | 522.34 |  | 0
3.3 | Supply and fix European rustic non slip porcelain floor tiles (60 x 60 cm) to regular pattern, bedding, and jointing with cement mortar (1:4), grouting joints of 2mm in matching coloured cement but joints straight both ways to screed beds, Size: | m² | 522.34 |  | 0
3.3 | Supply and fix European rustic non slip porcelain floor tiles (30 x 30 cm) to regular pattern, bedding, and jointing with cement mortar (1:4), grouting joints of 2mm in matching coloured cement but joints straight both ways to screed beds to the toilets | m² | 488.54 |  | 0
3.4 | Supply and fix European rustic slip porcelain wall tiles (30 x 30 cm) to regular pattern, bedding, and jointing with cement mortar (1:4), grouting joints of 2mm in matching coloured cement but joints straight both ways to screed beds, Size: | m² | 109 |  | 0
3.5 | Supply and Install 10 x 100mm high tile skirting with rounded top and coved at junction with floor | Lm | 897 |  | 0
3.6 | Apply and fix wateproof the roof floor with APP bituminous membrane water proofing, torch bonded including priming surfaces and dressing around services 10mm thick laid to falls the roof should have drain pipes of 10cm dia at every 5m interval chased into walls. | m² | 522.34 |  | 0
| Sub-total |  |  |  | 0
4 | Painting work
4.1 | Supply and apply two coats of white wash on all plastered surfaces | m² | 1521.5 |  | 0
4.2 | Supply and apply two coats of emulsion paint on all whitewashed area | m² | 1521.5 |  | 0
| Sub-total |  |  |  | 0
5 | Doors/windows
5.1 | Supply and install single leaf woodendoors in wooden frame complete with all fittings, hinges, locks and keys - door size 2100x900mm. | Nos | 12 |  | 0
5.2 | Supply and install double leaf woodendoors in wooden frame complete with all fittings, hinges, locks and keys - door size 2000mmx2100mm | Nos | 1 |  | 0
5.3 | Supply and install double leaf woodendoors in wooden frame complete with all fittings, hinges, locks and keys - door size 1800mmx2100mm | Nos | 2 |  | 0
5.4 | Supply and fix aluminum windows in aluminum frames, complete with shutters, fittings for Classes- Window size 800x2100mm, | Nos | 7 |  | 0
5.5 | Supply and fix aluminum windows in aluminum frames, complete with shutters, fittings for Classes and aluminum mesh- Window size 1.8x3.000mm, | m² | 64.8 |  | 0
5.6 | Supply and fix aluminum windows in aluminum frames, complete with shutters, fittings for Classes and aluminum mesh- Window size 1.2x3.000mm, | m² | 4.5 |  | 0
5.7 | Supply and fix aluminum windows in aluminum frames, complete with shutters, fittings for Classes and aluminum mesh- Window size 1.x3.000mm, | m² | 3 |  | 0
5.8 | Supply and fix aluminum windows in aluminum frames, complete with shutters, fittings for Classes and aluminum mesh- Window size 1.0x3.000mm, | m² | 3 |  | 0
5.9 | Supply and fix aluminum windows in aluminum frames, complete with shutters, fittings for Classes and aluminum mesh- Window size 800x800mm, | m² | 2.52 |  | 0
| Sub-total |  |  |  | 0
6 | Mechanical work
6.1 | Water Closet (WC) Suite
6.2 | 15mm diameter x 300mm long flexible connectors complete with integral chrome plated angle valve for connecting the sanitary fitting to water supply. To be as Cobra or equal and approved. | Nos | 7 |  | 0
6.3 | Chrome plated toilet roll holder as Dali size 140 x 110 x 160mm ref # BMA70 | Nos | 7 |  | 0
Pedestal Wash Hand Basin (WHB)
6.4 | Pedestal wash hand basin size 635 x 500mm with one tap hole, 32mm diameter chrome plated chain waste, chain stay hole, chrome plated mixer tap with pop-up waste as Tapis and heavy duty plastic bottle trap (32mm 'P' trap) with 75mm seal. As Nova or equal and approved. | Nos | 8 |  | 0
6.5 | 15mm diameter x 300mm long flexible connectors complete with integral chrome plated angle valve for connecting the sanitary fitting to water supply. To be as Cobra or equal and approved. | Nos | 7 |  | 0
Internal/ External Plumbing Works
6.6 | Provide PC Sum for Supply, deliver and install PP-R (Polypropylene Random Co-polymer) pipes, tubing and fittings as described and shown on the drawings. The pipes and fittings shall be produced as per DIN 8078 and DIN 16962, and shall meet or exceed the requirements of DVS 2207, current standards for PP-R installations and to the Engineers approval. The pipes will be pressure tested before the plastering of wall commences and as per the manufacturers recommended testing pressures. | LS | 1 |  | 0
INTERNAL/ External FOUL WATER DRAINAGE
6.7 | Provide PC sum for supply, deliver and install the following UPVC soil and waste systems, manhole constructions respectively with fittings fixed to Manufactures Printed instructions and manufactured by reputable manufacturers. Tenderers must allow in their pipework prices for all the couplings, clippings, connectors, joints etc. as required in the running lengths of pipework and also where necessary, for pipe fixing clips, holder bats plugged and screwed for the proper and satisfactory functioning of the system. | LS | 1 |  | 0
6.8 | Cylindrical plastic water tank 5000L as Roto tank or equal and approved | No. | 2 |  | 0
6.9 | Pressure controlled booster pump duty and standby capable of sustaining a consant pressure at 2bar across faucets. As Pedrollo PKM80, and complete with duty-standby interchange panel and pressure vessel. | No. | 1 |  | 0
7 | Electrical work |  |  |  | 0
7.1 | Supply, Install, Test, Commission and fixings of fluorescent light LED including permanent switches, wiring system, all necessary fixings and accessories complete in accordance with drawings and specifications | Nos | 44 |  | 0
7.2 | Supply, Install, Test, Commission and fixings of Single/ double switched socket outlet, 13A including permanent wiring system, all necessary fixings and accessories complete in accordance with drawings and specifications | Nos | 44 |  | 0
7.3 | Supply, Install, Test, Commission and fixings of fans including permanent switches, wiring system, all necessary fixings and accessories complete in accordance with drawings and specifications | Nos | 40 |  | 0
7.4 | Earthing for MDB including ECC, earth rod, pit as per Engineers requirements including for testing and commissioning of earthing system complete accessories | Nos | 1 |  | 0
7.5 | Air-condition units each 18-BTU, units to be fitted on 450mm height base as indicated on the plans, all pipes and cable must be hidden in the wall, the Air-con switch must be flush with the wall | Nos | 2 |  | 0
7.6 | Wall mounted LV panel with mild steel spray painted located at the switch room, constructed from HG,shall be complete & housing based on the requirements | Unit | 1 |  | 0
| Sub-total |  |  |  | 0
| Total Engineering cost estimate for first floor |  |  |  | 0
Grand Total engineering cost for G+1 Hospital building in Harardere |  |  |  |  | 0

## Septic tank
11 | Septic tank | Unit | Quantity | Rate (USD) | Amount (USD)
1.1 | Excavation of septic tank hall 6m long, 4m wide and 2.5m depth. | m³ | 60 |  | 0
1.2 | Plain concrete in 50 mm thick blinding layer (1:3:6 mix) under the foundation wall. | m³ | 0.4 |  | 0
1.3 | Rubble stone wall in cement & sand mortar 1:4 of 40cm thick | m³ | 20.8 |  | 0
1.4 | R.C (1:2:4 mix) in ground beam (0.4m x0.20m ), with 6N0. Y14 re-bars & R6 links @ 250 mm c/c. | m³ | 1.6 |  | 0
1.5 | R.C (1:2:4 Mixing ratio) slab with two entering access of 0.20 m thick with Ø 12mm, 10mm and 8mm bars both ways at top and bottom and distanced 150mm each to other N.B The slab should be kept moist and watered for a period of minimum 3 weeks and protect from sun | m³ | 7.2 |  | 0
1.6 | Plumbing and sewer line works from the toilets to the septic tank | Ls | 1 |  | 0
| Total Engineering cost estimate for septic tank |  |  |  | 0

## Grand Summary
Grand Summary
1 | Main building block | 0
2 | Septic tanks | 0
Total cost for Harardere Hospital building |  | 0
| 2% CONTENGENCY | 0
Grand Total cost for HICO base building in Hobyo |  | 0