INVITATION TO BID (ITB)

Vendor / Company Name: __________________________________________ Date : 23/04/2024 Cell Phone:……………………………………………………………………………………….

| Opening Date: 23.04.2024 | No. of pages including this page: 5 |
| --- | --- |
| Tender title: Additional Works – Renovation / Rehabilitation of Activities in Banaadir TB Hospital in Mogadisho. | Ref no: A05_SO_WVSL/MOG FY24-001 |

Closing Date: 07.05.2024

Manner of Submission: ALL quotations/bids must be submitted through somo_supplychain@wvi.org. The subject of the Email should be ‘Rehabilitation of Banaadir TB Hospital’ – Additional Works

Instruction

Carefully read all pages before placing a quote

Requirements:

World Vision Somalia Program SCZ Office invites qualified and reputable Suppliers with proven experience the construction and rehabilitation as indicated in Annex I below to make an offer based upon the conditions stated in this Invitation to Bid for the following Items.

Your offer should clearly indicate:

- Unit price;

- Price should be net after deduction;

- Confirmed delivery schedule;

- Validity of the offer;

- Detailed specification (if different from the stipulated specification).

Information to bidders:

- Currency of offer should preferably be in US Dollars, but in case local currency is offered, the comparison of offers will be based on the prevailing rate of exchange.

- World Vision does not undertake to pay by letter of credit (LOC) or in advance of work completion.

- World Vision reserves the right to accept the whole or part of your offer.

- World vision Somalia reserves the right to accept or reject any application (bid), and is not bound to give reasons for its decisions. Canvassing or giving false information will lead to automatic disqualification.

- Attach your company profile with the invitation letter (The Profile must show details of office address).

- Your quotation letter should be separate page/s from world vision international Somalia ITB/RFQ.

- Bids submitted past the deadline shall not be considered.

- The supplier/Contractor must obtain Registration/ clearance letter, signed and stamped from respective District Council or Authority.

Eligibility

Bids become eligible and will be opened only if they have been submitted through the provided email (somo_supplychain@wvi.org) on/before 07th May 2024.

EVALUATION CRITERIA

Apart from financial evaluation, the evaluation of the bids will be subject to satisfactory conformity to the following mandatory requirements:

NB: Failure to provide these Mandatory documents will lead to disqualification.

(MANDATORY REQUIREMENTS)

- Provide a certified copy of a certificate of business registration, certificate of incorporation, business license or similar document;

- Provide a certified copy of tax registration, tax clearance certificates or similar documents;

ADDITIONAL REQUIREMENT:

Three (3) years’ experience in similar works (attach current and previous contracts/LPOs) - past experiences (specifically in 2021/2022/2023 in South West State for services that are similar to those that have been bid for in this Invitation to Bid (including details such as Client, Client Contact, Certification from Clients on satisfactory service delivery of the works (if any);

Summary;

Annex 1: Additional Works - Renovation/ Rehabilitation of Activities in Banaadir TB Hospital in Mogadisho.

| Item | Description | Unit | QTY | Cost($) | Total Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Concrete Seat for Waiting Space |  |  |  |  |
| 1.1.1 | Back filling, watering & tamping pavement with 40cm-thick hardcore durable stone & aggregate (for gap filling) | M³ | 7.50 |  |  |
| 1.1.2 | Construction of 20cmx20cmx40cm concrete hollow block walls. A pair of block columns at all junctions (see drawing). Walls joined with cement /sand mortar of 1:4 mix. | M2 | 7.50 |  |  |
| 1.1.3 | Supply and fix 40cm x 40cm floor tiles (UAE product) non slip tiles on the prepared flood screed including 200mmx400mm floor non slip ceramic skirting same color and design with tiles to match. | M2 | 27.32 |  |  |
| Sub - Total 1 - Rehabiilation of Waiting Space |  |  |  |  |  |
| 2 | Rehabilitation of Two Communal Latrines |  |  |  |  |
| 2.1.1 | SEPTIC TANK: Undertake the necessary excavations and construct a 1.5mX1.5mX5m Septic tank covered with 20cm thick reinforced concrete having 12Y 15cm C/C in both ways step on a 20cm thick beam with 4Y12 . NOTE : these activities includes the construction of septic tank walls from bottom to the top with middle beams and you should install vente pipe of 3m height | Ls | 1.00 |  |  |
| Sub - Total 2 - Rehabilitation of Communal Latrines |  |  |  |  |  |
| 3 | Rehabilitation of Drug Distribution Room |  |  |  |  |
| 3.1.1 | Block the Window with blocks and plastered them properly. | M2 | 1.3 |  |  |
| 3.1.2 | Block the rere door with blocks and plastered them properly. | M2 | 2.73 |  |  |
| 3.1.3 | Supply and install imported wooden doors (made in indonesia DWL 40MM 1.3m x 2.1m) with 50cm x 1m steel panels above the door compelete with door frames, hinges, door lock mortise (italic) etc. This icludes replacing of old wooden door. | Ls | 2.00 |  |  |
| 3.1.4 | Apply Two coats of white - washing on interior wall surfaces including ceilings. | M2 | 96.00 |  |  |
| 3.1.5 | Apply Three coats of distempering on interior wall surfaces. Color of paint to be idenfied by WV engineer. | M2 | 96.00 |  |  |
| 3.1.6 | Supply and install Alluminium 1.5m x 2.0m window compelete with window frames, hinges, door lock mortise (italic) etc. This price includes removing the old wooden windows. | Ls | 2.00 |  |  |
| 3.1.7 | Install Aluminium Doors Completed with Locks, Hings and All Necessary Accessories. The Dimenstion of Doors is 1.0m Wide and 2.00m Height. | No | 1.00 |  |  |
| 3.1.8 | Provide and fix hand washing basin completed with accessories and siphones for all latrines. This price including installation shower and checking all the drainage pipe system for latrines and fix them properly. | Pcs | 1 |  |  |
| Sub - Total 3 - Rehabilitation of Drug Distribution Room |  |  |  |  | $ - |
| 4 | Male Changing Room |  |  |  |  |
| 4.1.1 | Install Aluminium Doors Completed with Locks, Hings and All Necessary Accessories. The Dimenstion of Doors is 1.0m Wide and 2.00m Height. | No | 2.00 |  |  |
| 4.1.2 | Apply Two coats of white - washing on interior wall surfaces including ceilings. | M2 | 76.00 |  |  |
| 4.1.3 | Apply Three coats of distempering on interior wall surfaces. Color of paint to be idenfied by WV engineer. | M2 | 76.00 |  |  |
| 4.1.4 | Supply and install Alluminium 1.5m x 2.0m window compelete with window frames, hinges, door lock mortise (italic) etc. This price includes removing the old wooden windows. | Ls | 1.00 |  |  |
| 4.1.5 | Provide and fix hand washing basin completed with accessories and siphones for all latrines. This price including installation shower and checking all the drainage pipe system for latrines and fix them properly. | Pcs | 1 |  |  |
| Sub - Total 4 - Rehabilitation of Male Changing Room |  |  |  |  |  |
| Summary Sheet for Rehabilltation Activities in Banaadir TBMU Compound |  |  |  |  |  |
| Sr No | Facility Name | Unit | Qty | Unit Cost (USD) | Total Amount (USD) |
| 1 | Sub - Total 1 - Rehabiilation of Waiting Space | USD | 1.00 |  |  |
| 2 | Sub - Total 2 - Rehabilitation of Communal Latrines | USD | 1.00 |  |  |
| 3 | Sub - Total 3 - Rehabilitation of Drug Distribution Room | USD | 1.00 |  |  |
| 4 | Sub - Total 4 - Rehabilitation of Male Changing Room | USD | 1.00 |  |  |
| Grand Total - Additional Activities for Banaadir TB Facility |  |  |  |  |  |

NB: All pages and corrections should be counter signed (if any).