## Lowyocado shallow well
Quantities for Works: Motorized High Yield Shallow Well | MOTORIZED SHALLOW WELL
Item | Description | Unit | Quantity | Rate | Amount ($)
BOQ for water point 1- Lowyocado Shallow Well
1 | The depth of the shallow well is 10m. This shallow well is very starategic shallow well that suplied more than 2500HHs through the pipeline extension. The community recently desilted, and no need for further upgrading, as confirmed by the regional water coordinator.
1.1 | The only activity they urgently requested is the clearance of the surrounding trees and debris. | Ls | 1
ELEMENT NO. 1.2: TESTING AND TREATMENT
1.2.1 | Water recharge testing(testing of the well using electrical submersible pump, the contractor to provide necessary power, etc and proper record every one hour interval at least 24 continous hours). | Item | 1
| Well Disinfection by the guidance of ALIGHT Enigneer | Item | 1
1.2.2 | Analysis of Water, using field test kits; 2 water sample for each of the tests including chemical, bacterial and Turbidity tests. | Item | 1
| Total costs for the testing and treatments |  |  |  | 0
MAIN SUMMARY
ELEMENT NO
| 1.1: SITE CLEARANCE |  |  |  | 0
| 1.2: TESTING AND TREATMENT |  |  |  | 0
| TOTAL COSTS FOR THE LOWYACADO SHALLOW WELL UPGRADING |  |  |  | 0
2 | REHABILITATION OF SOLAR SYSTEM AND PROVISION OF NEW PUMP FOR SHALLOW WELL
2.1 | Supply and Install submersible pump 11 KW (Pump diameter outlet 3” inch) Head of 280 meter Model Name: 4SR6/43 Pedrollo | Ls | 1
2.2 | Supply and installation of a mount support structure made of galvanized square hollow steel, featuring a 0.5m base foundation and a 2m above-ground height, under the guidance of an ALIGHT engineer. This holding structure will cover the 40previous solar panels and 8 new ones | Lsm | 1
2.3 | Replacement of 8 Solar Panels 450W (Mono Crystalline) | pcs | 8
2.4 | 8mm2 submersible pump 3-phase motor cable | LM | 20
2.5 | Well Probe Cable | LM | 18
2.6 | Well Probe sensor | Nr | 1
2.7 | PV Disconnect 1000-40-5 | Nr | 1
2.8 | Surge Protector | Nr | 1
2.9 | PV Protect 1000-125 | Nr | 1
2.1 | PV Combiner 1000-125-4 | Nr | 1
2.11 | Smart Start Automatic Remote Diesel Switching Device | Nr | 1
2.12 | SunSwitch-Automatic Solar Level Switching Device | Pcs | 1
2.13 | Sun Sensor- Irradiation measurement module and software | Pcs | 1
2.14 | 10mm2 4 core for the pump | Roll | 1
2.15 | 1.5mm2 2 core UG cable sensor | Roll | 1
| Sub-total cost for Loyocado-shallow well |  |  |  | 0
Extension of the pipeline from the water source to the town
Item | Description | Unit | Quantity | Rate | Amount ($)
3 | PIPELINES
The community confirmed that they have 3-inch HDPE pipe and have already laid 1.2 km. They requested support to lay the remaining 3.8 km, which means ALIGHT will only cover the laying of the 3.8 km pipeline.
3.1 | Excavation trench (0.6deep and 0.4wide), including laying and backfilling of a pipeline (2” HDPE pipe) from the water source to the kiosks. | CM | 912
3.2 | Purchase of the necessary fitting for the pipes. | LM | 1
3.3 | Galvinized 2'' GI class C pipes | Pcs | 10
3.4 | Cost for plumbing works for pipeline | Ls | 1
3.5 | Transportation costs | Ls | 1
| Total costs for the pipeline extensions |  |  |  | 0
TOTAL COSTS FOR WELL SUB-COMPONENTS
ITEM | ITEM DESCRIPTION | UNIT | QTY | RATE [USD]
1 | Total budget for the shallow well upgrading | No | 1 | 0
2 | Total budget for the rehabilitations of solar system and provision of submerible pump | No | 1 | 0
3 | Pipeline extensions | No | 1 | 0
GRAND TOTAL FOR LOWYOCADO SHALLOW WELL SEILA/AWDAL |  |  |  | 0

## Sheet2 (hidden)
amendment
no change
deleted
changed
new