## B-14 Cadarosh BH
Cadaroosh Borehole Rehabilitation BoQ.
(A) BOQs for Construction of Animal Troughs
Item | Description of Items | Qty | Unit | Unit Price $ | Amount $
A | CAMEL TROUGHS
A1.1 | Site clearance and mobilization: Remove waste and debris | lsm | 1
A1.2 | Excavate 0.5m deep x 1.55m wide x 8.6m long trench | m³ | 6.67
A1.3 | Lay 50mm thick lean concrete (1:4:8) as foundation blinding | m³ | 0.67
A1.4 | Supply and fill 300mm hardcore, compacted | m³ | 3.9
A1.5 | Construct 150mm thick RCC slab with mesh wire (1:2:4) | m³ | 1.99
A1.6 | Construct a 0.75 m high RCC wall (concrete mix 1:2:4) with two layers of 12 mm diameter reinforcement bars at 20cm c/c. | m³ | 2.9
A1.7 | Cast 200mm x 200mm RCC beam (1:2:4) reinforced with Y12 bars | m³ | 0.79
A1.8 | Apply 20mm thick plaster (1:4) to walls | m² | 31.5
A1.9 | Apply 2 coats of emulsion paint to walls | m² | 31.5
A1.10 | Lay 1.8m RCC mesh slab for footstep | m³ | 1.3
Sub-Total for camel trough
A2.0 | Shoat Trough
A2.1 | Site clearance and mobilization: Remove waste and debris | lsm | 1
A2.2 | Excavation: Excavate 0.5m deep x 1.25m wide x 8.6m long | m³ | 5.4
A2.3 | Lay 50mm thick lean concrete (1:4:8) as foundation blinding | m³ | 0.54
A2.4 | Supply and fill 300mm hardcore, compacted | m³ | 3.3
A2.5 | Construct 150mm thick RCC slab with mesh wire (1:2:4) | m³ | 1.61
A2.6 | Construct a 0.20 m high RCC wall (concrete mix 1:2:4) with two layers of 12 mm diameter reinforcement bars at 20cm c/c. | m³ | 0.99
A2.7 | Cast 200mm x 100mm RCC beam (1:2:4) reinforced with Y12 bars | m³ | 0.4
A2.8 | Apply 20mm thick plaster (1:4) to walls | m² | 13.8
A2.9 | Apply 2 coats of emulsion paint to walls | m² | 13.8
A2.10 | Lay 1.8m RCC mesh slab for footstep | m³ | 1.3
Sub-Total for Shoat Troughs
Grand total for the two new animal troughs
(B) BOQ for the Rehabilitation of Two Animal Troughs
| Item Description | Unit | Qty | Unit Cost (USD) | Unit Cost (USD)
B1 | Inspect for any cracks in the wall and use a scraper tool to clean the affected areas. Apply a high-quality patching plaster to fill the cracks, and then apply a second layer once the first layer has dried. | LS | 1 |  |  | `
B2 | Plastering (smoothing surface) | LS | 1
B3 | Whitewashing (exterior and interior surfaces) | LS | 1
B4 | Dismembering (on the whole surfaces) | LS | 1
B5 | Full repairs of standing footteps | Ls | 1
Rehabilitation cost for one trough
| total costs of the animal trough rehabs |  |  | 2
TOTAL COST FOR THE ANIMAL TROUGHS
(C) 400m pipeline extension from the water source to the kiosks in the town and MCH
Item | Description | Unit | Quantity | Rate | Amount ($)
PIPELINES
C1 | Excavation trench (0.6deep and 0.5wide), including laying and backfilling of a pipeline (2” HDPE pipe) from the water source to the kiosks. | CM | 120
C2 | Purchase of the high pressured 2'' HDPE pipe including delivering costs | LM | 400
C3 | Cost for plumbing works for pipeline | LS | 1
C4 | Pipe fittings | Nr | 1
C5 | Transportation costs | Ls | 1
Total cost for the pipeline extensions
(D) BOQ for Water Kiosk Rehabilitation at Borehole station
Item | Description | Unit | Quantity | Rate | Amount ($)
D1 | Supply and installation of water faucets | Pcs | 6
D2 | Whitewashing of the kiosk walls | m² | 20
D3 | Dismembering of old fittings | Ls | 1
D4 | Inspection of the soak pit | Ls | 1
D5 | Minor rehabilitation of soak pit (cleaning, repairs) | Ls | 1
D6 | Minor plumbing repairs | Ls | 1
D7 | Miscellaneous materials (cement, paint, etc.) | Ls | 1
D8 | Skilled labor | Ls | 1
Cost for the water kiosk rehabilitation
(F) Fence wall for the Cadarosh BH
Item | Description | Unit | Quantity | Rate | Amount ($)
F1 | The rehabilitation of the borehole security fence wall includes repairing the concrete foundation, rehabilitating the access door, fixing holding angular bars, and applying a protective coat of paint to prevent corrosion. | Ls | 1
Rehabilitation of the fence for the borehole
Budget summary for the Cadaroosh Borehole
Item | Description | Unit | Quantity | Rate | Amount ($)
A | Construction of new animal troughs and rehabs previous ones | No | 1
B | Pipeline extensions betweein the facilities | No | 1
C | Rehabilitation of the water kiosk | No | 1
D | rehabilitation of the fence wall for borehole | No | 1
GRAND TOTAL COST FOR CADAROSH BH HARGEISA/MARODIJEH

## B-15 Sayla-Bari BH
SaylaBari Borehole Rehabilitation BoQ.
(A) Borehole Pump and Pipe Replacement.
Item | Description of Items | Qty | Unit | Unit Price $ | Amount $
A1. Riser pipes and Submersible pump replacment and rehabilitations power cables
A1.1 | Procurement of 2-inch Galvanized Iron class "C" has the following specifications: outer diameter of 58 mm, inner diameter of 51 mm, for structural pipe use, surface treatment is galvanized, section shape is round, and all necessary fittings are included. Afterward, it should be transported to the site. Note. Installations not included | 60 | Pcs
A1.2 | Procurement of new LOWARA Submersible pump of 15KW (diameter outlet 2inch) with a Maximum head of 380m The pump must have a minimum flow rate 15m³/h, including accessories for the pump. Note: Installations are not included. | 1 | Pcs
A2. Mobilization, Installation, testing, training and maintenance
A2.1 | Transportation of equipment to the site | 1 | LS
A2.2 | Installation services- Installation service not included, so do not fill in/leave out the blanket. | 1 | LS
A2.3 | Conduct four consecutive hours of pump testing after installation of the riser pipes & pump- do not fill in/leave out the blanket. | 4 | HR
A2.4 | Training operators, video clips captureing during training- do not fill in/leave out the blanket. | 1 | LS
A2.5 | Repair of minor generator components and replacement of the damaged power cable to ensure proper functionality and safe operation of the generator. | Lsm | 1
Sub-total of new riser pipes, Submersible pump & Power Cable for Generator.
(B) BOQ for Construction of 25 CUM Elevated Water Tank
No | Description | Unit | Qty | Unit Price (USD) | Total Price (USD)
25 CUM Elevated Water Tank
B1 | Mobilization and Site Clearance: Transport materials to the site and clear vegetation and debris. | Ls | 1
B2 | Footing Excavation: Excavate 4 trenches (1.8m x 1.8m x 2.0m) for column foundations. | m³ | 25.92
B3 | Plain Concrete: Lay a 50 mm thick blinding layer under the footings (4 areas). | m³ | 0.648
B4 | Footing Concrete: Cast 4 reinforced concrete footings (1.5m x 1.5m x 0.5m) with a mix ratio of 1:1.5:3. | m³ | 4.5
B5 | Masonry Foundation Excavation: Excavate for a 5.8m long foundation (0.5m x 0.5m x 5.8m). | m³ | 1.45
B6 | Foundation Blinding: Lay a 50 mm thick plain concrete layer at specified dimensions. | m³ | 0.072
B7 | Construct Masonry Foundation Wall: Build a 40 cm thick rubble stone wall (0.4m x 0.45m x 14.6m). | m³ | 2.628
B8 | Ground Tie Beam: Cast a ground beam (0.4m x 0.4m x 14m) with a mix ratio of 1:1.5:3. | m³ | 2.336
B9 | Backfilling: Fill with good hardcore around footings and compact as specified. | m³ | 19.6
B10 | Hardcore: Supply and fill selected material over the ground floor to the beam level. | m³ | 4.95
B11 | Flooring Mass Concrete Slab: Lay a 10 cm thick slab over crushed stones with mix 1:4:8. | m³ | 1.2
B12 | Columns: Cast 4 RCC columns (0.4m x 0.4m x 7.1m) with mix 1:2:4. | m³ | 4.544
B13 | Ground, Middle and Roof Tie Beams: Cast 3 RCC beams (0.4m x 0.4m x 14.6m) with mix 1:2:4. | m³ | 9.344
B14 | RCC Bottom Slab: Cast a base slab (4m x 3.3m x 0.2m) with mix 1:1:2. | m³ | 2.64
B15 | RCC Tank Walls: Cast 20 cm thick walls (4+3.3) x 2 x 2.45m with mix ratio 1:1:2 | m³ | 7.154
B16 | RCC Roof Slab: Cast a roof slab (4m x 3.3m x 0.15m) with mix ratio 1:2:4. | m³ | 1.98
B17 | Plastering: Apply 20 mm thick plaster (mix 1:4) to walls, beams, and columns. | m² | 165.44
B18 | Whitewashing and Painting: Apply two coats of emulsion paint to walls, beams, and columns. | m² | 165.44
B19 | Iron Lids: Provide a 600mm x 600mm roof access cover. | lsm | 1
B20 | G.I Class-C Pipes: Install pipes for outlet, inlet, overflow, and washout (120m ). | lsm | 1
B21 | Ladder: Provide and install a galvinized steel ladder to the top of the tank. | lsm | 1
Sub-Total
B22 | Paint sketch art with ALIGHT and SHF logos on both sides of the tank and kiosks for visibility. | lsm | 1
Sub-Total
TOTAL COST OF 20M³ ELEVATED WATER TANK
C. 400m pipeline extension from the water source to the kiosks in the town and MCH
Item | Description | Unit | Quantity | Rate | Amount ($)
C1 | Excavation trench (0.6deep and 0.5wide), including laying and backfilling of a pipeline (2” HDPE pipe) from the water source to the kiosks. | CM | 120
C2 | Purchase of the high pressured 2'' HDPE pipe including delivering costs | LM | 400
C3 | Cost for plumbing works for pipeline | LS | 1
C4 | Pipe fittings | Nr | 1
C5 | Transportation costs | Ls | 1
Total cost for the pipeline extensions
(D) Construction of One new water kiosks with 6 Faucets at BH station.
No | Description | Unit | Qty | Unit Price (USD) | Total Price (USD)
Construction new water kiosk
D1 | Site clearance: Clear and prepare the site. Remove the topsoil up to a depth of 150mm and dispose of waste. | lsm | 1
D2 | Excavation for foundation trenches: Excavate the foundation for the kiosk slab (2.4m length, 2.8m width, and 0.3m depth). | m³ | 2
D3 | Hardcore for backfilling: Provide 200mm thick well-compacted hardcore fill with a 25mm thick quarry dust layer to receive the surface bed. | m³ | 1.34
D4 | R.C.C concrete slab: Construct a 2.8m x 2.4m slab with 0.1m thickness over the compacted hardcore layer using a concrete mix ratio of 1:2:4. | m³ | 0.67
D5 | Concrete bricks (0.55m height): Build the wall using concrete blocks (200mm thick), bedded and jointed with a cement-sand mix ratio of 1:2. The wall must be kept moist for at least 10 days. | m³ | 0.62
D6 | Concrete bricks for kiosk taps (0.6m height): Build the wall to hold taps using cement blocks (200mm thick) bedded and jointed with a Cement-Sand Mix Ratio of 1:4. Keep moist for 10 days. | m³ | 0.19
D7 | R.C.C wall (R.C.C Capping): Provide and cast a 200mm reinforced concrete capping mix 1:2:4 with reinforcement. | m³ | 0.15
D8 | Plastering: Apply 20mm thick plaster using a cement-sand mix ratio of 1:4 to the walls, with a smooth finish and curing. | m² | 9.76
D9 | Whitewashing: Apply two coats of whitewash to the external walls of the water kiosk. | m² | 9.76
D10 | GI Pipe 1 1/2" (6m long) | Pcs | 3
D11 | GI Pipe 3/4" (6m long) | Pcs | 1
D12 | Reducing socket (1 1/2" x 3/4") | Pcs | 6
D13 | Elbows (2") | Pcs | 4
D14 | Tee (2") | Pcs | 6
D15 | Socket (2") | Pcs | 6
D16 | Nipples (2") | Pcs | 6
D17 | Taps 3/4" (peglar) | Pcs | 6
D18 | Union socket (2") | Pcs | 8
D19 | Gate valve (2") | Pcs | 1
D20 | Teflon tape | Pcs | 10
D21 | Drainage: Construct a drainage system with a 40cm diameter pipe for water collection. | Lsm | 1
D22 | Soak pit: Excavate a soak pit (1m diameter, 1.5m depth), fill with rubble, and cover with a reinforced concrete slab. | lsm | 1
D23 | Footstep: Lay a 2m slab for footstep around the kiosk for people to stand on and also should be ensured access ramp for the disabled people with guidance of ALIGHT Engineer. | m³ | 2
D24 | Stand pipe for tankers: Construct a 3m high, 2-inch diameter standpipe with a 40cm x 40cm concrete foundation. | Lsm | 1
D25 | Fence wall for Water kiosk: Install a fence wall with mesh wire supported by steel angle bars, anchored to fixed foundations, including door gates and necessary fittings. | lsm | 1
Cost for one water kiosk at a well station
(E) BOQs for Construction of Animal Troughs
No | Description | Unit | Qty | Unit Price (USD) | Total Price (USD)
Shoat Trough
E1 | Site clearance and mobilization: Remove waste and debris | lsm | 1
E2 | Excavation: Excavate 0.5m deep x 1.25m wide x 8.6m long | m³ | 5.4
E3 | Lay 50mm thick lean concrete (1:4:8) as foundation blinding | m³ | 0.54
E4 | Supply and fill 300mm hardcore, compacted | m³ | 3.3
E5 | Construct 150mm thick RCC slab with mesh wire (1:2:4) | m³ | 1.61
E6 | Construct a 0.20 m high RCC wall (concrete mix 1:2:4) with two layers of 12 mm diameter reinforcement bars at 20cm c/c. | m³ | 0.99
E7 | Cast 200mm x 100mm RCC beam (1:2:4) reinforced with Y12 bars | m³ | 0.4
E8 | Apply 20mm thick plaster (1:4) to walls | m² | 13.8
E9 | Apply 2 coats of emulsion paint to walls | m² | 13.8
E10 | Lay 1.8m RCC mesh slab for footstep | m³ | 1.3
Sub-Total for new Shoat Trough
(F) BOQ for the Rehabilitation of Two Animal Troughs
| Item Description | Unit | Qty | Unit Cost (USD) | Unit Cost (USD)
F2.1 | Inspect for any cracks in the wall and use a scraper tool to clean the affected areas. Apply a high-quality patching plaster to fill the cracks, and then apply a second layer once the first layer has dried. | LS | 1
F2.2 | Plastering (smoothing surface) | LS | 1
F2.3 | Whitewashing (exterior and interior surfaces) | LS | 1
F2.4 | Dismembering (on the whole surfaces) | LS | 1
F2.5 | Full repairs of standing footteps | Ls | 1
Rehabilitation cost for one trough
Total costs of the animal trough rehabs
Budget summary for the Sayla-Bari Borehole
| Item Description | Unit | Qty | Unit Cost (USD) | Unit Cost (USD)
A | New riser pipes, Submersible pump & and New power cable | No | 1
B | Construction of 25CUM elevated water tank | No | 1
C | Pipeline extension between the facilities | No | 1
D | Construction of new water kiosk | No | 1
E | One new shoat trough | No | 1
F | Rehabilitation of 4 troughts | No | 1
GRAND TOTAL COST FOR SAYLA-BARI BH HARGEISA/MARODIJEH

## B- 16 Wado-Makahil BH
Wado Makahil Borehole Rehabilitation BoQ.
(A) Borehole Pump and Pipe Replacement.
Item | Description of Items | Qty | Unit | Unit Price $ | Amount $
A1. Riser pipes and Submersible pump replacment
A1.1 | Procurement of 2-inch Galvanized Iron class "C" has the following specifications: outer diameter of 58 mm, inner diameter of 51 mm, for structural pipe use, surface treatment is galvanized, section shape is round, and all necessary fittings are included. Afterward, it should be transported to the site. Note. Installations not included | 45 | PCS
A1.2 | Procurement of a new LOWARA submersible pump with 11KW (2-inch outlet diameter), a maximum head of 300m, and a minimum flow rate of 15m³/h, including accessories for the pump. Note: Installations are not included. | 1 | PCS
A2. Mobilization, Installation, testing, training and maintenance
A2.1 | Transportation of equipment to the site | 1 | LS
A2.2 | Installation services- Installation service not included, so do not fill in/leave out the blanket. | 1 | LS
A2.3 | Conduct four consecutive hours of pump testing after installation of the riser pipes & pump- do not fill in/leave out the blanket- do not fill in/leave out the blanket. | 4 | HR
A2.4 | Training operators, video clips captureing during training- do not fill in/leave out the blanket. | 1 | LS
Sub-total of new riser pipes and Submersible pump.
(B) Installation of Solar system, Generator repairs and Borehole fence.
Item | Description of Items | Qty | Unit | Unit Price $ | Amount $
B1 | Supply and install Solar pumping controller,14KW with 45A | 1 | PCS
B2 | crystalline solar modules, 450W, 40.40V, 10.85A, efficiency15.46% efficiency, 1000Vsystem voltage with 72 series cells arrangement | 40 | PCS
B3 | Solar Mounting Structure: steel ground mount structure constructed from 600mmX30mm steel angles folded in triangular shape with reinforced concrete at the base and sized according to the 300W module dimensions. | 1 | LM
B4 | 8mm2 submersible pump 3-phase motor cable | LM | 20
B5 | Well Probe Cable | LM | 18
B6 | Well Probe sensor | Nr | 1
B7 | PV Disconnect 1000-40-5 | Nr | 1
B8 | Surge Protector | Nr | 1
B9 | PV Protect 1000-125 | Nr | 1
B10 | PV Combiner 1000-125-4 | Nr | 1
B11 | Smart Start Automatic Remote Diesel Switching Device | Nr | 1
B12 | SunSwitch-Automatic Solar Level Switching Device | Pcs | 1
B13 | Sun Sensor- Irradiation measurement module and software | Pcs | 1
B14 | 10mm2 4 core for the pump | Roll | 1
B15 | 1.5mm2 2 core UG cable sensor | Roll | 1
B16 | Solar Fencing: Supply and construct of chain fencing for the solar with GI pipe 2.5" dia. class-B and 2m clear height every 2 meter length and the chain link is 50mmx50mm opening and 2.7mm dim. Price includes digging for foundation, concrete foundation works, supply and erection of corner posts at bend points, intermediate posts, mesh wire, 4mm galvanized mild steel straining wires, etc.The cost also includes painting work. All material shall be approved my site engineer. | LM | 65
B17 | Fence for Borehole: Site Clearance:Site clearing including grubbing up all small trees and wild growth along the boundary wall and cart away debris 2.Foundation Construction: Construct Foundation Masonry wall 400MM widht by 600mm hight . 3. 2000MM high rhomboidal Mesh Galvaniced: Supply and install, chain link in standard rhomboidal mesh Galvanized of 2000mm High, supported by Four inch angular Metalic bars 2500MM( 50MM below foundation) at spacing 3000MM, same dimension to the panals exceeded 2000MM in each side for clear space and safety. 4. Gate:Steel gate size 2000mm wide x 2000mm high comprising 2 No openable double leaf each size 1000mm wide by 2450mm high fabricated from complete with all iron mongery and locking devices: including one coat of primer and two coats of approved paint. | LM | 165
B18 | Repair of minor generator components and replacement of the damaged power cable to ensure proper functionality and safe operation of the generator. | Lsm | 1
Sub-total cost for the solar system, well fenceing and generator repair
(C) BOQ for Construction of 25 CUM Elevated Water Tank
Item | Description of Items | Qty | Unit | Unit Price $ | Amount $
25 CUM Elevated Water Tank
C1 | Mobilization and Site Clearance: Transport materials to the site and clear vegetation and debris. | Ls | 1
C2 | Footing Excavation: Excavate 4 trenches (1.8m x 1.8m x 2.0m) for column foundations. | m³ | 25.92
C3 | Plain Concrete: Lay a 50 mm thick blinding layer under the footings (4 areas). | m³ | 0.648
C4 | Footing Concrete: Cast 4 reinforced concrete footings (1.5m x 1.5m x 0.5m) with a mix ratio of 1:1.5:3. | m³ | 4.5
C5 | Masonry Foundation Excavation: Excavate for a 5.8m long foundation (0.5m x 0.5m x 5.8m). | m³ | 1.45
C6 | Foundation Blinding: Lay a 50 mm thick plain concrete layer at specified dimensions. | m³ | 0.072
C7 | Construct Masonry Foundation Wall: Build a 40 cm thick rubble stone wall (0.4m x 0.45m x 14.6m). | m³ | 2.628
C8 | Ground Tie Beam: Cast a ground beam (0.4m x 0.4m x 14m) with a mix ratio of 1:1.5:3. | m³ | 2.336
C9 | Backfilling: Fill with good hardcore around footings and compact as specified. | m³ | 19.6
C10 | Hardcore: Supply and fill selected material over the ground floor to the beam level. | m³ | 4.95
C11 | Flooring Mass Concrete Slab: Lay a 10 cm thick slab over crushed stones with mix 1:4:8. | m³ | 1.2
C12 | Columns: Cast 4 RCC columns (0.4m x 0.4m x 7.1m) with mix 1:2:4. | m³ | 4.544
C13 | Ground, Middle and Roof Tie Beams: Cast 3 RCC beams (0.4m x 0.4m x 14.6m) with mix 1:2:4. | m³ | 9.344
C14 | RCC Bottom Slab: Cast a base slab (4m x 3.3m x 0.2m) with mix 1:1:2. | m³ | 2.64
C15 | RCC Tank Walls: Cast 20 cm thick walls (4+3.3) x 2 x 2.45m with mix ratio 1:1:2 | m³ | 7.154
C16 | RCC Roof Slab: Cast a roof slab (4m x 3.3m x 0.15m) with mix ratio 1:2:4. | m³ | 1.98
C17 | Plastering: Apply 20 mm thick plaster (mix 1:4) to walls, beams, and columns. | m² | 165.44
C18 | Whitewashing and Painting: Apply two coats of emulsion paint to walls, beams, and columns. | m² | 165.44
C19 | Iron Lids: Provide a 600mm x 600mm roof access cover. | lsm | 1
C20 | G.I Class-C Pipes: Install pipes for outlet, inlet, overflow, and washout (120m ). | lsm | 1
C21 | Ladder: Provide and install a galvinized steel ladder to the top of the tank. | lsm | 1
Sub-Total
C22 | Paint sketch art with ALIGHT and SHF logos on both sides of the tank and kiosks for visibility. | lsm | 1
Sub-Total
TOTAL COST OF 20M³ ELEVATED WATER TANK
(D) 700m pipeline extension from the water source to the kiosks in the town and MCH
Item | Description of Items | Qty | Unit | Unit Price $ | Amount $
PIPELINES
D1 | Excavation trench (0.6deep and 0.5wide), including laying and backfilling of a pipeline (2” HDPE pipe) from the water source to the kiosks. | CM | 210
D2 | Purchase of the high pressured 2'' HDPE pipe including delivering costs | LM | 700
D3 | Cost for plumbing works for pipeline | LS | 1
D4 | Pipe fittings | Nr | 1
D5 | Transportation costs | Ls | 1
Total cost for the pipeline extensions
(E) Construction of two new water kiosks with 6 Faucets, and rehabilitation of one water kiosk
Item | Description of Items | Qty | Unit | Unit Price $ | Amount $
Construction new water kiosk
E1 | Site clearance: Clear and prepare the site. Remove the topsoil up to a depth of 150mm and dispose of waste. | lsm | 1
E2 | Excavation for foundation trenches: Excavate the foundation for the kiosk slab (2.4m length, 2.8m width, and 0.3m depth). | m³ | 2
E3 | Hardcore for backfilling: Provide 200mm thick well-compacted hardcore fill with a 25mm thick quarry dust layer to receive the surface bed. | m³ | 1.34
E4 | R.C.C concrete slab: Construct a 2.8m x 2.4m slab with 0.1m thickness over the compacted hardcore layer using a concrete mix ratio of 1:2:4. | m³ | 0.67
E5 | Concrete brick (0.55m height): Build the wall using concrete blocks (200mm thick), bedded and jointed with a cement-sand mix ratio of 1:2. The wall must be kept moist for at least 10 days. | m³ | 0.62
E6 | Concrete bricks for kiosk taps (0.6m height): Build the wall to hold taps using Concrete blocks (200mm thick) bedded and jointed with a Cement-Sand Mix Ratio of 1:4. Keep moist for 10 days. | m³ | 0.19
E7 | RCC wall (R.C.C Capping): Provide and cast a 200mm reinforced concrete capping mix 1:2:4 with reinforcement. | m³ | 0.15
E8 | Plastering: Apply 20mm thick plaster using a cement-sand mix ratio of 1:4 to the walls, with a smooth finish and curing. | m² | 9.76
E9 | Whitewashing: Apply two coats of whitewash to the external walls of the water kiosk. | m² | 9.76
E10 | GI Pipe 1 1/2" (6m long) | Pcs | 3
E11 | GI Pipe 3/4" (6m long) | Pcs | 1
E12 | Reducing socket (1 1/2" x 3/4") | Pcs | 6
E13 | Elbows (2") | Pcs | 4
E14 | Tee (2") | Pcs | 6
E15 | Socket (2") | Pcs | 6
E16 | Nipples (2") | Pcs | 6
E17 | Taps 3/4" (peglar) | Pcs | 6
E18 | Union socket (2") | Pcs | 8
E19 | Gate valve (2") | Pcs | 1
E20 | Teflon tape | Pcs | 10
E21 | Drainage: Construct a drainage system with a 40cm diameter pipe for water collection. | Lsm | 1
E22 | Soak pit: Excavate a soak pit (1m diameter, 1.5m depth), fill with rubble, and cover with a reinforced concrete slab. | lsm | 1
E23 | Footstep: Lay a 2m slab for footstep around the kiosk for people to stand on.Footstep: Lay a 2m slab for footstep around the kiosk for people to stand on. and also should be ensured access ramp for the disabled people with guidance of ALIGHT Engineer. | m³ | 2
E24 | Stand pipe for tankers: Construct a 3m high, 2-inch diameter standpipe with a 40cm x 40cm concrete foundation. | Lsm | 1
E25 | Fence wall for Water kiosk: Install a fence wall with mesh wire supported by steel angle bars, anchored to fixed foundations, including door gates and necessary fittings. | lsm | 1
Cost for one water kiosk at a well station
| Total cost for two kiosk |  |  | 2
(F) BOQ for Water Kiosk Rehabilitation
Item | Description of Items | Qty | Unit | Unit Price $ | Amount $
F1 | Supply and installation of water faucets | Pcs | 6
F2 | Whitewashing of the kiosk walls | m² | 20
F3 | Dismembering of old fittings | Ls | 1
F4 | Inspection of the soak pit | Ls | 1
F5 | Minor rehabilitation of soak pit (cleaning, repairs) | Ls | 1
F6 | Minor plumbing repairs | Ls | 1
F7 | Miscellaneous materials (cement, paint, etc.) | Ls | 1
F8 | Skilled labor | Ls | 1
Cost for the water kiosk rehabilitation
(G) BOQ for the Rehabilitation of Two Animal Troughs
Item | Description of Items | Qty | Unit | Unit Price $ | Amount $
G1 | Inspect for any cracks in the wall and use a scraper tool to clean the affected areas. Apply a high-quality patching plaster to fill the cracks, and then apply a second layer once the first layer has dried. | LS | 1
G2 | Plastering (smoothing surface) | LS | 1
G3 | Whitewashing (exterior and interior surfaces) | LS | 1
G4 | Dismembering (on the whole surfaces) | LS | 1
G5 | Full repairs of standing footteps | Ls | 1
Rehabilitation cost for one trough
| total costs of the animal trough rehabs |  |  | 2
TOTAL COST FOR THE ANIMAL TROUGHS
(H) BOQ for Security Room Rehabilitation
Item | Description of Items | Qty | Unit | Unit Price $ | Amount $
H1 | Removal of previous deadly surface scrabs | m² | 48
H2 | Primer application on wall cracks | m² | 48
H3 | Replastering the all walls | m² | 48
H4 | Whitewashing of all surfaces | m² | 48
H5 | Dismembering of old fixtures and materials | LS | 1
H6 | Supply and installation of a new door | pcs | 1
H7 | Supply and installation of a new window | pcs | 1
H8 | Labor costs | LS | 1
H9 | Transportation of materials | LS | 1
Total costs for one room
| Total costs of two rooms |  |  | 2
Budget summary for the Wado-Makahil Borehole
Item | Description of Items | Qty | Unit | Unit Price $ | Amount $
A | Installation of Riser pipes and Submersible pump | No | 1
B | Solar system, Generator repair, and Fence wall | No | 1
C | Construction of 25CUM elevated water tank | No | 1
D | Pipeline extension between the facilities | No | 1
E | Construction of two new water kiosks & one rehabs | No | 1
F | Rehabilitation of One Water Kiosk. | No | 1
G | Rehabilitation of two animal troughs | No | 1
H | Rehabilitation of Generator and security room | No | 1
GRAND TOTAL COST FOR WADO-MAKAHIL BH HARGEISA/MARODIJEH

## B-17 Bali-kaliil shallow well
Bali-Kaliil Shallow Well Rehabilitation BoQ.
(A) Desilting, Deepening, and Construction of Concrete Rings of Well
Item | Description | Unit | Quantity | Rate | Amount ($)
1 | Allow for the cost of transporting all equipment, andpersonnel to site and demobilization at completion of contract. | Ls | 1
2 | Remove all silt deposits to restore the structure to its original depth. | CM | 15
3 | Excavate 7 m to a new depth to increase the yield of the well. | CM | 35
4 | Fuel costs for dewatering during excavation. | Ls | 1
5 | Cart away and deposit surplus material as directed. | CM | 30
6 | Installation Reinforced perforated concrete casing 1800mm diameter x100mm wall thickness x 500mm high up to 7m depth. NB: The well rings shall be insitu monolithic rings to make it more resistant to damage from extreme weather conditions. | No. | 15
7 | Construction of concrete apron as a guidance of ALIGHT engineer | Ls | 1
8 | Water recharge testing for one full day and full report for the testing | Ls | 1
TOTAL COSTS FOR THE SHALLOW WELL UPGRADING.
(B) REHABILITATION OF SOLAR SYSTEM AND NEW SUBMERSIBLE PUMP
Item | Description | Unit | Quantity | Rate | Amount ($)
1 | The Grundfos submersible pump (1.4KW - 8m³/h - Maximum Head of 100m) is made from stainless steel | No | 1
2 | Solar pump Controller 2kw (American or European-made) | No | 1
3 | Replacement of relevant solar cables | Lsm | 1
4 | Install new galvanized GI pipes | Pcs | 6
5 | The project involves the supply and installation of a mesh wire fence wall, utilizing 2-inch angle bars spaced 2 meters on center, with a total height of 2.5 meters, of which 50 cm will be buried underground. These angle bars will be securely anchored in mass concrete footings measuring 0.3m x 0.3m x 0.5m. Additionally, a steel box gate measuring 1 meter wide and 2.5 meters high will be provided and installed, complete with all necessary ironmongery and locking devices, finished with one coat of primer and two coats of approved paint. | Lsm | 1
Total costs
(C) 400m pipeline extension from the water source to the kiosks in the town.
Item | Description | Unit | Quantity | Rate | Amount ($)
1 | PIPELINES
1 | Excavation trench (0.6deep and 0.5wide), including laying and backfilling of a pipeline (2” HDPE pipe) from the water source to the kiosks. | CM | 150
2 | Purchase of the high pressured 2'' HDPE pipe including delivering costs | LM | 500
3 | Cost for plumbing works for pipeline | LS | 1
4 | Pipe fittings | Nr | 1
5 | Transportation costs | Ls | 1
Total cost for the pipeline extensions
(D) BOQ for Water Kiosk Rehabilitation at Borehole station
Item | Description | Unit | Quantity | Rate | Amount ($)
1 | Supply and installation of water faucets | Pcs | 6
2 | Whitewashing of the kiosk walls | m² | 20
3 | Dismembering of old fittings | Ls | 1
4 | Inspection of the soak pit | Ls | 1
5 | Minor rehabilitation of soak pit (cleaning, repairs) | Ls | 1
6 | Minor plumbing repairs | Ls | 1
7 | Miscellaneous materials (cement, paint, etc.) | Ls | 1
8 | Skilled labor | Ls | 1
Cost for the One water kiosk rehabilitation
| Total cost for the two water kiosk rehabilitations |  |  | 2
(E) BOQs for Construction of Animal Troughs
Item | Description | Unit | Quantity | Rate | Amount ($)
1 | CAMEL TROUGHS
1.1 | Site clearance and mobilization: Remove waste and debris | lsm | 1
2.1 | Excavate 0.5m deep x 1.55m wide x 8.6m long trench | m³ | 6.67
3.1 | Lay 50mm thick lean concrete (1:4:8) as foundation blinding | m³ | 0.67
4.1 | Supply and fill 300mm hardcore, compacted | m³ | 3.9
5.1 | Construct 150mm thick RCC slab with mesh wire (1:2:4) | m³ | 1.99
6.1 | Construct a 0.75 m high RCC wall (concrete mix 1:2:4) with two layers of 12 mm diameter reinforcement bars at 20cm c/c. | m³ | 2.9
7.1 | Cast 200mm x 200mm RCC beam (1:2:4) reinforced with Y12 bars | m³ | 0.79
8.1 | Apply 20mm thick plaster (1:4) to walls | m² | 31.5
9.1 | Apply 2 coats of emulsion paint to walls | m² | 31.5
10.1 | Lay 1.8m RCC mesh slab for footstep | m³ | 1.3
Sub-Total for camel trough
2 | Shoat Trough
2.1 | Site clearance and mobilization: Remove waste and debris | lsm | 1
2.1 | Excavation: Excavate 0.5m deep x 1.25m wide x 8.6m long | m³ | 5.4
2.1 | Lay 50mm thick lean concrete (1:4:8) as foundation blinding | m³ | 0.54
2.1 | Supply and fill 300mm hardcore, compacted | m³ | 3.3
2.1 | Construct 150mm thick RCC slab with mesh wire (1:2:4) | m³ | 1.61
2.1 | Construct a 0.20 m high RCC wall (concrete mix 1:2:4) with two layers of 12 mm diameter reinforcement bars at 20cm c/c. | m³ | 0.99
2.1 | Cast 200mm x 100mm RCC beam (1:2:4) reinforced with Y12 bars | m³ | 0.4
2.1 | Apply 20mm thick plaster (1:4) to walls | m² | 13.8
2.1 | Apply 2 coats of emulsion paint to walls | m² | 13.8
2.1 | Lay 1.8m RCC mesh slab for footstep | m³ | 1.3
Sub-Total for Shoat Troughs
Grand total for the two new animal troughs
Budget summary for the Bali-shallow well
Item | Description | Unit | Quantity | Rate | Amount ($)
A | Rehabilitation and deepening of shallow well | No | 1
B | Rehabilitation of solar system with new submersible pump | No | 1
C | 500m pipeline extensions | No | 1
D | Rehabilitation two water kiosks | No | 1
E | Construction of two new animal troughs | No | 1
GRAND TOTAL COST FOR BALI-KALIL SHALLOW WELL HARGEISA/MARODIJEH