PROJECT NAME: For Systemic climate-change resilience for food, fodder and water security for vulnerable communities in Burao, Somaliland

PROJECT NO: SOM1068

From: Welthungerhilfe

Airport Road, next to Djibouti Consulate

Hargeisa, Somaliland

Email: procurement.somaliland@whh.de

RFQ-SOM1068

DATE: 16.12.2025

QUOTATION FOR OPERATIONAL AND MAINTENANCE TOOLS FOR WATER STRUCTURES

SPR REFERENCE NO: 68300

| Submission Date |  |
| --- | --- |
| Company Name |  |
| Address |  |
| Tel/Mobile |  |
| Official Email |  |

Your company is cordially invited by the Office of Welthungerhilfe to submit a firm offer for the following tools for water structures

| SN | ITEM DESCRIPTION | Unit | QTY | IMAGE | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Spin Mop Cleaning Set with Microfibers Refill for Home & Office Use | Set | 9 |  |  |  |
| 2 | Solar panel cleaning Squeegee. With head length of 43.5cm and pole length of 140cm made of wood | Pcs | 9 |  |  |  |
| 3 | Adjustable Pipe wrench set of 24 inches, made of steel with I beam handle and 65mm drop forged hardened jaws. | Pcs | 9 |  |  |  |
| 4 | Adjustable Pipe wrench set of 14’ inches, made of steel with I beam handle and 65mm drop forged hardened jaws | Pcs | 9 |  |  |  |
| 5 | Adjustable spanner 200mm hardened and tempered chrome vanadium steel with graduated scale to fix jaw. | Pcs | 9 |  |  |  |
| 6 | Adjustable Metal hacksaw of 12inch long with high carbon metal blade length 300mm supplied with single blades. | Pcs | 9 |  |  |  |
| 7 | HSS Hacksaw blades 12" x 1/2" x 24tpi, blade length 300mm | Pcs | 27 |  |  |  |
| 8 | Sprit level. 45cm length | Pcs | 22 |  |  |  |
| 9 | Crowbars form forged steel | Pcs | 13 |  |  |  |
| 10 | Masons hammer with wood handles. 1.3kg min. | Pcs | 22 |  |  |  |
| 11 | screwdriver varies size, double ended/Z shape with magnetic tip | set | 22 |  |  |  |
| 12 | Combination pliers 200mm drop forged hardened and tempered vanadium steel with induction hardened jaws, soft grip handles | Pcs | 9 |  |  |  |
| 13 | Carpenter claw hammer | Pcs | 13 |  |  |  |
| 14 | Pick Axe (mattock) with stout head 1.5kg, with wood handle length of 35 inch. | Pcs | 22 |  |  |  |
| 15 | Masons Trowel carbon steel and wood handle | Pcs | 22 |  |  |  |
| 16 | Plain iron sheet scissor | Pcs | 13 |  |  |  |
| 17 | Shovel made of high treated steel, with wood handle length of 1.2m | Pcs | 44 |  |  |  |
| 18 | padlocks with key-medium size | Pcs | 44 |  |  |  |
| 19 | Wheelbarrows are made of steel blades, with tubeless tires. Big lot. | Pcs | 22 |  |  |  |
| 20 | Tape Measure 7.5m | Pcs | 22 |  |  |  |
| 21 | Long measuring tape 50m, soft thread rounded. | Pcs | 22 |  |  |  |
| 22 | Tap water valves. | pcs | 36 |  |  |  |
| 23 | GI Valve Sockets, 2" | Pcs | 27 |  |  |  |
| 24 | Gate Valve, 2" | Pcs | 18 |  |  |  |
| 25 | HDPE Valve Sockets, 2" | Pcs | 18 |  |  |  |
| 26 | GI Gate Valve, 1" | Pcs | 18 |  |  |  |
| 27 | Gate Valve 3/4" | Pcs | 18 |  |  |  |
| 28 | GI Valve Sockets, 2" | Pcs | 18 |  |  |  |
| 29 | GI Valve Sockets, 1" | Pcs | 18 |  |  |  |
| 30 | GI Valve Sockets, 3/4" | Pcs | 18 |  |  |  |
| 31 | GI Union, 2" | Pcs | 36 |  |  |  |
| 32 | HDPE Union, 2" | Pcs | 36 |  |  |  |
| 33 | GI union, 1’’ | Pcs | 18 |  |  |  |
| 34 | Union, 3/4" | Pcs | 18 |  |  |  |
| 35 | GI Elbow 2’’ | pcs | 36 |  |  |  |
| 36 | HDPE Elbow 2’’ | pcs | 18 |  |  |  |
| 37 | GI Elbow 1’’ | pcs | 18 |  |  |  |
| 38 | Thread seal tape | set | 27 |  |  |  |
| 39 | Tangit glue | set | 18 |  |  |  |
| 40 | Electric tester | pcs | 18 |  |  |  |
| 41 | Heavy Metallic box to fit all the above items with dimensions of 550 x 200 x 550mm cantilever lock type and nonremovable trays. | Pcs | 22 |  |  |  |
| 42 | HDPE geomembrane welding machine. Model LST900D Rated Voltage: 230 V / 120 V Frequency: 50 / 60 Hz Power: 1800 W / 1650 W Welding Speed: 1 - 5 m/min Heating Temperature: 50 - 450 ℃ Welding Pressure: 100-1000N Thickness Welded: 1.0 mm - 3.0 mm （Single Layer） Overlap Width: 12 cm Seam Width: 12 mm *2 Interior Cavity 15mm Seam Strength: ≥ 85 % Material Net Weight: 13.0 Kg Digital Display: Temperature and Speed | Pcs | 1 |  |  |  |
| 43 | Hot air gun for HDPE lamenting. Model:YT-82293 Operating Temperature 50-600℃ Gas Consumption 500L/min. Weight: 2KG | Pcs | 1 |  |  |  |
| 44 | 6.5kva Diesel Generator. Model KINGMAX. Rate voltage: 220/380 Max current: 23.9/14.5A Phase No:1&3 Phase Fuel tank: 16L | Pcs | 1 |  |  |  |
|  | Discount |  |  |  |  |  |
|  | Total Amount |  |  |  |  |  |

The Delivery location is Welthungerhilfe Burco Office

Your quotation should also clearly indicate the following.

- Confirmed Delivery Period: ....................................................

- Validity of the offer (preferable 90days) …………………………………………….

Requirements for Compliance:

- Ensure timely submission of your quotation by the specified deadline, which is up to 23;59 EAT on 23rd December 2025. Companies failing to submit their quotations by this deadline will not be considered.

- All quotation documents along with mandatory documents stated in the Invitation to tender must be submitted through Official Procurement emai procurement.somaliland@whh.de