## Summary Cost of allconstruction
Summary costs of CRWASH Construction in Luuq and Dollow
S.No. | Descriptions of work/activities | Total Amount (USD)
1 | DIGGING AND CONSTRUCTION OF SHALLOW WELL (LUUQ TOWN) | 0
2 | REHABILITATION OF ELEVATED TANK and SUPPLY OF PIPE LAYING AND FITTINGS (LUUQ TOWN) | 0
3 | CONSTRUCTION OF 5 TWIN LATRINES (3 LUUQ TOWN AND 2 (DOLLOW TOWN) | 0
4 | CONSTRUCTION 20 TEMBORARY SINGLE LATRINES WITH HANDWASHING FACILITIES (LUUQ TOWN). | 0
5 | CONCTRUCTION (4) WATER POINTS (LUUQ TOWN) | 0
6 | SUPPLY OF SOLAR PANELS AND SOLAR PUMP & FENCING (LUUQ TOWN | 0
7 | WATER INFRASTRUCTURE IN 3 W/AGSS CENTERS; PIPED WATER CONNECTION IN LUUQ AND A RAINWATER HARVESTING SYSTEM IN DOLOW. | 0
| Total cost of CRWASH construction in Luuq and Dollow | 0
Company Name:_________________________Stamp/Sign:_______________________Date_________

## BOQ of Shallow Well
BOQ of Shallow Well (9m) deep Cakaaro, Luuq District
| DECRIPTION OF WORK | UNIT | QTY | Rate (U$) | AMOUNT(U$)
1 | Excavation
1.1 | Excavate pit 0.00--1.50 meters | m3 | 3.0144 | 0 | 0
1.2 | Ditto 1.500-- 3.00 meters | m3 | 3.0144 | 0 | 0
1.3 | Ditto 3.00-- 4.50 meters | m3 | 3.0144 | 0 | 0
1.4 | Ditto 4.500-6.00 meters | m3 | 3.0144 | 0 | 0
1.5 | Ditto 6.00--7.500metres | m3 | 3.0144 | 0 | 0
1.6 | Ditto 7.500- 9.00 meters | m3 | 3.0144 | 0 | 0
1.7 | Ditto 9.00--10.5 meters | m3 | 3.0144 | 0 | 0
1.8 | Remove extra excavated surplus material from site | m3 | 10 | 0 | 0
1.9 | Return, fill in and ram selected excavated material around walls | m3 | 15 | 0 | 0
2 | Extra- Over for excavating in rock | m3 | 6 | 0 | 0
2.1 | Filling
2.2 | Approved hardcore filling spread well rammed and compacted | m3 | 2 | 0 | 0
2.3 | Concrete Work
2.4 | Mass concrete class 15( 1:3:6) 50mm thick concrete/quarry dust blinding | m2 | 6 | 0 | 0
2.6 | 25mm gravel mixed pack placed in the bottom of the wall | m3 | 4 | 0 | 0
2.7 | 25mm gravel mixed with 5-12mm gravel and coarse sand mixture | m3 | 4 | 0 | 0
2.8 | 5-12mm graded and mixed gravel or course sand fill | m3 | 4 | 0 | 0
2.9 | Normal backfill with selected granular material up to 300mm above water table | m3 | 2 | 0 | 0
3 | Highly compacted impermeable clay or equivalent approved material fill | m3 | 1 | 0 | 0
3.1 | Reinforced concrete class 25(1:1.5:3) with 20mm thick maximum aggregate size
3.2 | 100mm thick perforated reinforced concrete rings reinforced as shown in the drawing | No | 21 | 0 | 0
3.3 | 100mm thick solid reinforced concrete rings reinforced as shown in the drawing | No | 2 | 0 | 0
3.4 | SAWN FORMWORK
3.5 | Formwork to side and top of ring beam | m2 | 15 | 0 | 0
3.6 | Construction of reinforced concrete platform and drainage apron including 20m length drainage channel, sanitary sealing of the well as per the drawing | m3 | 1 | 0 | 0
3.7 | 100mm thick slopping cover slab | m2 | 10 | 0 | 0
3.8 | 150mm thick cover slab | m2 | 4.7 | 0 | 0
3.9 | Formwork to soffit of cover slab | m2 | 1 | 0 | 0
4 | Reinforcement
4.1 | BRC A 393 wire mesh | m2 | 21 | 0 | 0
4.2 | 600 x 600 x 5mm thick PCC manhole angle ring edging to well cover | No | 1 | 0 | 0
4.3 | Walling
4.4 | 400mm thick rubble walling jointed in cement and sand mortar 1: 3 | m3 | 12 | 0 | 0
4.5 | Visibility logo as will be directed by the supervising engineer | L.s | 1 | 0 | 0
| Grand Total Cost of Shallow well |  |  |  | 0
Company Name:_________________________Stamp/Sign:_______________________Date_________

## BOQ of Reh Tank & Pipe Laying
BOQ of REHABILITATION OF ELEVATED TANK and SUPPLY OF PIPE LAYING AND FITTINGS Cakaaro, Luuq Distrct
| DECRIPTION OF WORK | UNIT | QTY | Rate (U$) | AMOUNT(U$)
1 | internal rehabilitation
1.1 | Drain, clean, removed waterproof plaster, crack repair with non-shrink grout and finally 20mm waterproof cement plaster | L.S | 1 | 0 | 0
2 | External Rehabilitation
2.1 | Extenal crack repair, plaster repair, replace inlet/outlet fittings and repair leakage points and finally painting | L.S | 1 | 0 | 0
2.2 | Visibility logo as will be directed by the supervising engineer | L.S | 1 | 0 | 0
| Subtotal Rehabilitation Elevated Tank |  |  |  | 0
PIPE LAYING AND FITTINGS
| DECRIPTION OF WORK | UNIT | QTY | Rate (U$) | AMOUNT(U$)
1 | Trench Excavation 0.6m deep including backfilling for 2,000 Meters for pipeline connection from intake to the elevated tanks | m3 | 240 | 0 | 0
1.1 | Supply of HDPE pipe PN 12.5 3 inch from shallow well to the elevated tank | m | 1850 | 0 | 0
1.2 | Supply of HDPE pipe PN 8 1.5 inch inch for distribution lines from Water tank to the water points | m | 570 | 0 | 0
1.3 | Fittings, installation and accessories ( Nipples., bends, union sockets and Gate valve) and connectors | LSM | 1 | 0 | 0
| Subtotal Pipe laying and Fittings |  |  |  | 0
Grand Total Cost of Rehabilitation Elevated Tank & Pipe Laying
0
Company Name:_________________________Stamp/Sign:_______________________Date_________

## BOQ of twin Latrines
BOQ of CONSTRUCTION OF 5 TWIN LATRINES (3 LUUQ TOWN AND 2 (DOLLOW TOWN)
1 | DECRIPTION OF WORK | UNIT | QTY | Rate (U$) | AMOUNT(U$)
1.1 | Site / General Works
1.2 | Site clearing, leveling, and setting out (1.5X1.8)m | m² | 5.4 | 0 | 0
1.3 | Excavation & Foundation
1.4 | Excavation for wall foundation (0.5 m wide × 0.3 m deep around perimeter) | m³ | 1.35 | 0 | 0
1.5 | Plain concrete blinding (1:4:8) under foundation | m³ | 1.755 | 0 | 0
1.6 | Masonry Walls
1.7 | Block walling, 150 mm thick, height 2.0 m, perimeter length (4.5+3.6)=8.1m → area ~ 8.1×2.0=16.2 m² | m² | 16.2 | 0 | 0
1.8 | Lintel beam over door opening (8.1m wide × 0.15m × 0.15m) | m³ | 0.18225 | 0 | 0
1.9 | ROOF (Single-Slope Iron-sheet Roof) 4.2* 2.1)m
2 | Ironsheet with timber 4.2×2.1 = m² | m² | 8.82 | 0 | 0
2.1 | Floor
2.2 | Hardcore filling and compaction | m² | 5.4 | 0 | 0
2.3 | Concrete floor slab (1:2:4)100mm thick (3.6×1.5) | m³ | 0.54 | 0 | 0
2.4 | Cement screed finish over floor | m² | 5.4 | 0 | 0
2.6 | Plastering & Finishes
2.7 | 12 mm internal & external plaster on walls (1:4 mix) | m² | 46.8 | 0 | 0
2.8 | Painting two coats external and internal | m² | 46.8 | 0 | 0
2.9 | Fittings & Fixtures
3 | latrine pan/trap set | set | 2 | 0 | 0
3.1 | Timber door (0.9m×2.0m) with frame & hardware | set | 2 | 0 | 0
3.2 | Ventilation pipe (PVC 100mm dia, 2m high) with fly screen | set | 1 | 0 | 0
3.3 | Pit (Dry Type)
3.4 | Pit excavation (approximate 2.5m deep × 3 × 1.2 m) m³ | m³ | 9 | 0 | 0
3.5 | Pit lining with blockwork area 2×(3+1.2)×2.5 ≈ 12 m²) | m² | 10.8 | 0 | 0
3.6 | RCC pit cover slab (3×1.2×0.10m) m³ | m³ | 0.36 | 0 | 0
| Sub Total for One twin latrine |  |  |  | 0
| Grand Total Cost of (5) Twin Latrines | No | 5 | 0 | 0
Company Name:_________________________Stamp/Sign:_______________________Date_________

## BOQ of Single latines+handwashi
BOQ of CONSTRUCTION 20 TEMBORARY SINGLE LATRINES WITH HANDWASHING FACILITIES (LUUQ TOWN). | BOQ of twin latines for Bulo bartire
| DECRIPTION OF WORK | UNIT | QTY | Rate (U$) | AMOUNT(U$)
1 | Sub-Structure
1.1 | Excavation of the pit 1.5*1.5*3.5 | m3 | 7 | 0 | 0
1.2 | Iron bar, Ø 10mm | Pcs | 3 | 0 | 0
1.3 | Binding Wire | kg | 1 | 0 | 0
1.4 | local Timber for covering pit and supports the concret. | Pcs | 10 | 0 | 0
1.5 | 10 cm/4 inch diameter PVC pipe for ventilations | Pcs | 1 | 0 | 0
1.6 | Cement | bags | 4 | 0 | 0
1.7 | Super-Structure
1.8 | Sawn wood Timber columns (2x3" -4m length) | Pcs | 6 | 0 | 0
1.9 | Sawn wood Timber (1x2"- 4m length) | Pcs | 7 | 0 | 0
2 | Corrugated Iron sheets,G34 | Pcs | 11 | 0 | 0
2.1 | Ordinary nails-no 6-7 | kg | 4 | 0 | 0
2.2 | Iron-sheet Door | Pcs | 2 | 0 | 0
2.3 | Door locks, Hinges | Pcs | 2 | 0 | 0
2.4 | Sand-Garvel | m3 | 1 | 0 | 0
2.5 | Water | drums | 5 | 0 | 0
2.6 | Labour cost | LS | 1 | 0 | 0
| Sub-Total 1 Single Latrine |  |  |  | 0
| Total Cost for 20 Single Latrines | No | 20 | 0 | 0
Handwashing Facilities Luuq district | BOQ of twin latines for Bulo bartire
| DECRIPTION OF WORK | UNIT | QTY | Rate (U$) | AMOUNT(U$)
1 | Plastic water Container | pcs | 1 | 0 | 0
1.1 | Metal/Plastic Stand for Water Container | pcs | 1 | 0 | 0
1.2 | Basin/Bucket for Wastewater Collection | pcs | 1 | 0 | 0
1.3 | Liquid Soap Dispense | pcs | 1 | 0 | 0
1.4 | Installation & Miscellaneous Items (PVC Pipes, Hose, Clips, etc.) | set | 1 | 0 | 0
| Sub-Total 1 handwashing |  |  |  | 0
| Total for 20 handwashing facilities | set | 20 | 0 | 0
Grand Total Cost of 20 Single Latrines |  |  |  |  | 0
Company Name:_________________________Stamp/Sign:_______________________Date_________

## BOQ of Water Points
BOQs of Conctruction (4) water Points Luuq District | BOQ of twin latines for Bulo bartire
| DECRIPTION OF WORK | UNIT | QTY | Rate (U$) | AMOUNT(U$)
1 | Site clearance: leveling and clear unnecessary materials | M2 | 6.2 | 0 | 0
1.1 | Excavation foundation trench and level (2.2m x 2.8 x0.4 ) | M3 | 2.464 | 0 | 0
1.2 | Mass concrete of 50mm thick blinding layer (1:2:4 mix) under the foundation wall 2.2m x 2.8 x0.05) | M3 | 0.308 | 0 | 0
1.3 | 250mm hardcore filling and well compacting for slab area(2.2mx2.8m) | M2 | 6.16 | 0 | 0
1.4 | RC concrete (1:2:4 mix ) in conc. floor slab 15 cm thick(2.4mx2.8mx0.15m) | M3 | 0.924 | 0 | 0
1.5 | 40cm thick masonry block walling in cement & sand mortar 1;3 mix () | M3 | 0.9 | 0 | 0
1.6 | Construct 200mm block bended with mix ratio of 1:4cement/sand (1.6mx0.6m) | M2 | 1.08 | 0 | 0
1.7 | Cast 20cm Mass concrete 1:3:6 mix design of the area (1.6x0.2x0.2m) | M3 | 0.072 | 0 | 0
1.8 | External & internal plastering ,12 mm thick, cement and sand mix 1:4, with wood float finish. | M2 | 1.98 | 0 | 0
1.9 | Apply two coats of white wash and destempering | M2 | 1.98 | 0 | 0
2 | 30 mm thick 1:3 cement/sand floor screed | M3 | 4.4 | 0 | 0
2.1 | GI pipes for water Kiosk 1'' | Pcs | 4 | 0 | 0
2.2 | Construct Complete drainage water collection with 1000mm dia for water kiosk(Soak Pit)(1000x1500x1000)mm, cover Precast concrete and fill gravel | M3 | 1.5 | 0 | 0
2.3 | Fittings on the kiosk
2.4 | GI Reducer 2" -1" | Pcs | 1 | 0 | 0
2.5 | 900 GI Elbow 1" | Pcs | 2 | 0 | 0
2.6 | 1" GI Double Tee | Pcs | 2 | 0 | 0
2.7 | 1" GI Single Tee | Pcs | 1 | 0 | 0
2.8 | Reducer socket 1"-3/4" | Pcs | 6 | 0 | 0
2.9 | Nipple GI | Pcs | 6 | 0 | 0
3 | Branch pipes, 3/4", galvanized (long pipe 300mm threaded on both sides ) | Pcs | 6 | 0 | 0
3.1 | G.I 3/4" taps | No | 6 | 0 | 0
3.2 | Visibility logo as will be directed by the supervising engineer | L.s | 1 | 0 | 0
| Sub Total 1 water point |  |  |  | 0
| Grand Total Cost of 4 water points | No | 4 | 0 | 0
Company Name:_________________________Stamp/Sign:_______________________Date_________

## BOQ of Solar pump & Fencing
BOQs of SUPPLY OF SOLAR PANELS AND SOLAR PUMP & FENCING (LUUQ TOWN) | BOQ of twin latines for Bulo bartire
| DECRIPTION OF WORK | UNIT | QTY | Rate (U$) | AMOUNT(U$)
1 | Pedrollo 4sr12/13-N 2.2 kw pump end | Pcs | 1 | 0 | 0
1.2 | 4mm2 x 4 STD PVC Flat submersible drop cable | m | 30 | 0 | 0
1.3 | borehole cover 2*6 c/w Adopter set | Pcs | 1 | 0 | 0
1.4 | water level swich | Pcs | 1 | 0 | 0
1.5 | Dayliff 2 inch standard 21 bar 3 meter | Pcs | 4 | 0 | 0
1.6 | solar panels 550 Wat solar | Pcs | 12 | 0 | 0
1.8 | 6MM2X1 SOLAR PV CABLE RED | m | 30 | 0 | 0
2 | 6MM*4 CORE U/G CABLE | m | 30 | 0 | 0
2.2 | copper earth cable | m | 10 | 0 | 0
2.3 | Earth rod | Pcs | 1 | 0 | 0
2.5 | Solar pump inventer 4 kwat | Pcs | 1 | 0 | 0
2.6 | 3 rolls Chain-link with angular posts and barbed wire 5 round | lumsum | 1 | 0 | 0
2.7 | Solar structure using H beam 180 x 180 x 5mm and SHS 50 x 50 x 3 mm | lumsum | 1 | 0 | 0
2.8 | PV disconnect switc | pc | 1 | 0 | 0
2.9 | Installation cost | person | 1 | 0 | 0
| Grand Total Cost of Solar Pump & Fencing |  |  |  | 0
Company Name:_________________________Stamp/Sign:_______________________Date_________

## BOQ WAGSS& Rainwater Harvesting
BOQs of WATER INFRASTRUCTURE IN 3 W/AGSS CENTERS; PIPED WATER CONNECTION IN LUUQ AND A RAINWATER HARVESTING SYSTEM IN DOLOW. | BOQ of twin latines for Bulo bartire
| DECRIPTION OF WORK | UNIT | QTY | Rate (U$) | AMOUNT(U$)
Construction Platform
1 | Excavate from normal ground level to a depth exceeding 1000mm | M3 | 2.5 | 0 | 0
1.2 | Supply and lay a 50mm layer of lean concrete blinding (1:4:8) at bottom of slab | M2 | 5 | 0 | 0
1.3 | Construct 400mm thick rubble stone wall with cement-sand mortar mix 1:3 to a height of approximately | M3 | 3.6 | 0 | 0
1.4 | Supply, lay and compact hardcore fill. This will be placed in layers of 150mm and well compacted | M3 | 1.764 | 0 | 0
1.5 | Cast 150mm thick In-situ well vibrated top slab reinforced concrete (1:2:4) reinforced with A142 | M3 | 0.9375 | 0 | 0
1.6 | Return , backfill and ram part of the excavated soil around the foundation | M3 | 9 | 0 | 0
1.8 | Plaster 12mm thick cement-sand (1:3) wood float finish for external surfaces and ready pint finish | M2 | 5 | 0 | 0
Plastic Tank
2 | Provide and install 5,000 litre capacity plastic water tanks complete with provisions and fitting for connection to; inlet pipe, outlet pipe, overflow pipe | No | 1 | 0 | 0
2.2 | Plastic Gutters with straps at every 1m fixed
2.3 | 150x200mm plastic gutter, fixed to timber | M | 40 | 0 | 0
2.5 | Extra over ditto for 100mm dia nozzle outlet | No | 3 | 0 | 0
2.6 | Ditto, but for stopped ends | No | 3 | 0 | 0
2.7 | Ditto, but for bned | No | 3 | 0 | 0
2.8 | 100mm dia rainwater down pipe fixed to the wall | M | 20 | 0 | 0
2.9 | Extra over ditto for swan.neck | No | 2 | 0 | 0
3 | Ditto, but for Shoe | No | 2 | 0 | 0
3.1 | PVC hose/tube | No | 2 | 0 | 0
3.2 | Labor & Installation | item | 1 | 0 | 0
3.3 | Transportation | item | 1 | 0 | 0
| Subtotal Total Cost of Rainwater Harvesting Dollow |  |  |  | 0
Water Infrastructure for W/AGSS Center (Luuq) | BOQ of twin latines for Bulo bartire
| DECRIPTION OF WORK | UNIT | QTY | Rate (U$) | AMOUNT(U$)
Pipeline Platform
1.1 | Tap base (concrete) | No | 1 | 0 | 0
1.2 | Tap stand (2–3 taps) | No | 1 | 0 | 0
1.3 | GI/PVC pipes | m | 100 | 0 | 0
1.4 | Pipe fittings | Item | 1 | 0 | 0
1.5 | Connection to main system | Item | 1 | 0 | 0
1.6 | Handwashing station | No | 1 | 0 | 0
1.7 | Drainage system | No | 1 | 0 | 0
1.8 | Excavation & backfilling | m | 100 | 0 | 0
1.9 | Labor & installation | Item | 1 | 0 | 0
2 | Transportation | Item | 1 | 0 | 0
| Subtotal Total Cost of Water Infrastructure for W/AGSS (Luuq) |  |  |  | 0
| Total Cost of Water Infrastructure for W/AGSS (Luuq) | no | 2 | 0 | 0
| Grand Total Cost of water infrastructure in 3 W/AGSS; piped water connection in Luuq and a rainwater harvesting system in Dolow |  |  |  | 0
Company Name:_________________________Stamp/Sign:_______________________Date_________