CLIENT:

inch supply pipe

total of 350m

3

4

inch distribution

pipe total of 40m

1

2

TECHNICAL DRAWING FOR RENOVATION OF HAYAYABE MCH

FUNDED BY:

BORAMA, SOMALILAND

JULY 2026

IMPLEMENTED BY:

TECHNICAL IMPLEMENTED PART:

DRAWING BY:

VICINITY MAP

N.T.S

1097320.000

1097360.000

1097400.000

| CLIENT: FUNDED BY: IMPLEMENTED BY: TECHNICAL IMPLEMENTING PARTNER: DRAWING BY: GENERAL NOTES: - ALL DIMENSIONS ARE IN METERS UNLESS NOTED OTHERWISE. - CONTRACTOR TO CHECK AND VERIFY ALL DIMENSIONS ON SITE BEFORE COMMENCEMENT - DO NOT TAKE DIMENSIONS FROM LAYOUTS, USE STAKEOUT DATA FROM THE DITIGAL DRAWINGS TRANSMITTED TO TOTAL STATION OR GNSS IN RTK MODE IN COLLABORATION WITH THE BENCHMARKS DEVELOPED. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROJECT: TECHNICAL DRAWINGS FOR RENOVATION OF HAYAYABE MCH BORAMA, SOMALILAND |  |  |  |  |  |
| CLIENT: BORAMA LOCAL MUNICIPALITY |  |  |  |  |  |
| TRADE: CIVIL WORKS |  |  |  |  |  |
| DWG REF: M100 TITLE: HAYAYABE MCH SITE AREA |  |  |  |  |  |
| DRAWN BY |  | RAADSAN CONSULTANCY |  |  |  |
| REVIEWED BY |  | TAAKULO ORG. |  |  |  |
| APPROVED BY |  | CITY ALLIANCE |  |  |  |
| REVISIONS: |  |  |  |  |  |
| NO. | REVISION |  |  | DATE | APPR. |
| 1 | Initial Drawing |  |  | 02/2026 |  |
| 2 | Final Revision |  |  | 07/2026 |  |
| SCALE : 1:500 |  |  |  | SHEET TYPE: A3 |  |
| DATE : 07/08/2026 |  |  |  | PAGE NO. 1 |  |

299360.000	299400.000

1

2

inch distribution

pipe total of 40m

1097360.000

3

inch supply pipe

4

total of 350m

299360.000	299400.000

0.92

0.47

0.11 0.11

0.01

0.110.12	1.28

0.11 0.11

0.01

1.73

0.01

0.11

110mm wide outer fire clay brick wall of the incinerator

Fire clay bricks as the base for the incinerator.

3mm thick MS plate box tunnel

0.92

0.47

3mm thick MS plate ash door on 30x30x3mm MS angle frame, oil painted to approval.

110mm wide outer fire clay brick wall of the incinerator

0.11 0.11

0.01

0.110.12

0.23

0.22	0.72

1.73

0.11 0.110.12

110mm wide outer fire clay brick wall of the incinerator

Fire clay bricks as the base for the incinerator.

0.01

110mm wide outer fire clay brick wall of the incinerator

0.11 0.11

Plan view at level 01

Plan view at level 03

0.11 0.11

0.01

0.11

0.110.12

0.23

0.22	0.72	0.22  0.12

110mm wide outer fire clay brick wall of the incinerator

Fire clay bricks as the base for the incinerator.

Primary combustion chamber.

0.71

support bricks above.

Flue and secondary combustion chamber.

110mm wide outer fire clay brick wall of the incinerator

0.16	0.36	0.34	0.36	0.29	0.110.12

3mm thick MS plate cover with 114mm dia, 3mm thick MS pipe welded on 30x30x3mm MS angle frame to house the chimney

MS hinges to site Engineer's approval.

loading door of 3mm MS plate welded on 30x30x3mm MS angle frame, oil painted.

| CLIENT: FUNDED BY: IMPLEMENTED BY: TECHNICAL IMPLEMENTING PARTNER: DRAWING BY: GENERAL NOTES: - ALL DIMENSIONS ARE IN METERS UNLESS NOTED OTHERWISE. - CONTRACTOR TO CHECK AND VERIFY ALL DIMENSIONS ON SITE BEFORE COMMENCEMENT - DO NOT TAKE DIMENSIONS FROM LAYOUTS, USE STAKEOUT DATA FROM THE DITIGAL DRAWINGS TRANSMITTED TO TOTAL STATION OR GNSS IN RTK MODE IN COLLABORATION WITH THE BENCHMARKS DEVELOPED. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROJECT: TECHNICAL DRAWINGS FOR RENOVATION OF HAYAYABE MCH BORAMA, SOMALILAND |  |  |  |  |  |
| CLIENT: BORAMA LOCAL MUNICIPALITY |  |  |  |  |  |
| TRADE: CIVIL WORKS |  |  |  |  |  |
| DWG REF: G100 TITLE: HAYAYABE MCH INCINERATOR |  |  |  |  |  |
| DRAWN BY |  | RAADSAN CONSULTANCY |  |  |  |
| REVIEWED BY |  | TAAKULO ORG. |  |  |  |
| APPROVED BY |  | CITY ALLIANCE |  |  |  |
| REVISIONS: |  |  |  |  |  |
| NO. | REVISION |  |  | DATE | APPR. |
| 1 | Initial Drawing |  |  | 02/2026 |  |
| 2 | Final Revision |  |  | 07/2026 |  |
| SCALE : 1:500 |  |  |  | SHEET TYPE: A3 |  |
| DATE : 07/08/2026 |  |  |  | PAGE NO. 2 |  |

0.92

0.11 0.11

0.47

0.01

0.11

1.73

### Plan view at level 02

0.11

1.40	0.110.12

### Plan view at level 04

150mm dia,3mm thick MS pipe chimney welded onto the chimney base plate

3mm thick MS plate cover with 114mm dia, 3mm thick MS pipe welded on 30x30x3mm MS angle frame to house the chimney

0.04

flue and secondary	 combustion chamber

04

loading door of 3mm MS plate welded on 30x30x3mm MS angle frame,

oil painted to approval.

04

110mm wide fire clay brick wall for the main body of incinerator

0.67

03

MS hinges to site Engineer's approval

10mm cement screed top finish

110mm wide fire clay brick wall for the main body of incinerator

110mm wide outer fire clay brick wall of the incinerator

03

02

25x25mm air inlet

for secondary combustion

0.46

01

342

170x250mm RC lintel to support bricks above

503

primary combustion chamber

170x250mm RC lintel to

156

support bricks above

3mm MS plate box tunnel

02

3mm thick MS plate ash door on 30x30x3mm MS angle frame, oil painted.

01

fire clay bricks as

the base for the incinerator

0.10

| CLIENT: FUNDED BY: IMPLEMENTED BY: TECHNICAL IMPLEMENTING PARTNER: DRAWING BY: GENERAL NOTES: - ALL DIMENSIONS ARE IN METERS UNLESS NOTED OTHERWISE. - CONTRACTOR TO CHECK AND VERIFY ALL DIMENSIONS ON SITE BEFORE COMMENCEMENT - DO NOT TAKE DIMENSIONS FROM LAYOUTS, USE STAKEOUT DATA FROM THE DITIGAL DRAWINGS TRANSMITTED TO TOTAL STATION OR GNSS IN RTK MODE IN COLLABORATION WITH THE BENCHMARKS DEVELOPED. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROJECT: TECHNICAL DRAWINGS FOR RENOVATION OF HAYAYABE MCH BORAMA, SOMALILAND |  |  |  |  |  |
| CLIENT: BORAMA LOCAL MUNICIPALITY |  |  |  |  |  |
| TRADE: CIVIL WORKS |  |  |  |  |  |
| DWG REF: G100 TITLE: HAYAYABE MCH INCINERATOR |  |  |  |  |  |
| DRAWN BY |  | RAADSAN CONSULTANCY |  |  |  |
| REVIEWED BY |  | TAAKULO ORG. |  |  |  |
| APPROVED BY |  | CITY ALLIANCE |  |  |  |
| REVISIONS: |  |  |  |  |  |
| NO. | REVISION |  |  | DATE | APPR. |
| 1 | Initial Drawing |  |  | 02/2026 |  |
| 2 | Final Revision |  |  | 07/2026 |  |
| SCALE : 1:500 |  |  |  | SHEET TYPE: A3 |  |
| DATE : 07/08/2026 |  |  |  | PAGE NO. 3 |  |

0.11	0.22	0.23	0.22	0.72

Typical Longitudinal Section

0.22	0.28

0.10

2.00	1.12

1.12

0.05

4.00

1.08

1.08

1.08

| CLIENT: FUNDED BY: IMPLEMENTED BY: TECHNICAL IMPLEMENTING PARTNER: DRAWING BY: GENERAL NOTES: - ALL DIMENSIONS ARE IN METERS UNLESS NOTED OTHERWISE. - CONTRACTOR TO CHECK AND VERIFY ALL DIMENSIONS ON SITE BEFORE COMMENCEMENT - DO NOT TAKE DIMENSIONS FROM LAYOUTS, USE STAKEOUT DATA FROM THE DITIGAL DRAWINGS TRANSMITTED TO TOTAL STATION OR GNSS IN RTK MODE IN COLLABORATION WITH THE BENCHMARKS DEVELOPED. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROJECT: TECHNICAL DRAWINGS FOR RENOVATION OF HAYAYABE MCH BORAMA, SOMALILAND |  |  |  |  |  |
| CLIENT: BORAMA LOCAL MUNICIPALITY |  |  |  |  |  |
| TRADE: CIVIL WORKS |  |  |  |  |  |
| DWG REF: G100 TITLE: HAYAYABE MCH INCINERATOR |  |  |  |  |  |
| DRAWN BY |  | RAADSAN CONSULTANCY |  |  |  |
| REVIEWED BY |  | TAAKULO ORG. |  |  |  |
| APPROVED BY |  | CITY ALLIANCE |  |  |  |
| REVISIONS: |  |  |  |  |  |
| NO. | REVISION |  |  | DATE | APPR. |
| 1 | Initial Drawing |  |  | 02/2026 |  |
| 2 | Final Revision |  |  | 07/2026 |  |
| SCALE : 1:500 |  |  |  | SHEET TYPE: A3 |  |
| DATE : 07/08/2026 |  |  |  | PAGE NO. 4 |  |

Typical Side Elevation	Rear Elevation	Front Elevation

2.70

IBR iron sheets on 50x50mm purlins on engineered truss by specialist

0.67

Roof pitch: 22.5 degrees

200

Incinerator access door 2000mm x 750mm framed by 32mm round bar oil

1144

painted

4000

115

115

100 x 100 x 3mm chainlink fencing suitably tied to the horizontal rails and columns

2.11

2888

200

3118

150mm Hard Core

Well rammed with a roller Compactor or vibration compactor

Proposed MCH Clinic Incinerator

| CLIENT: FUNDED BY: IMPLEMENTED BY: TECHNICAL IMPLEMENTING PARTNER: DRAWING BY: GENERAL NOTES: - ALL DIMENSIONS ARE IN METERS UNLESS NOTED OTHERWISE. - CONTRACTOR TO CHECK AND VERIFY ALL DIMENSIONS ON SITE BEFORE COMMENCEMENT - DO NOT TAKE DIMENSIONS FROM LAYOUTS, USE STAKEOUT DATA FROM THE DITIGAL DRAWINGS TRANSMITTED TO TOTAL STATION OR GNSS IN RTK MODE IN COLLABORATION WITH THE BENCHMARKS DEVELOPED. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROJECT: TECHNICAL DRAWINGS FOR RENOVATION OF HAYAYABE MCH BORAMA, SOMALILAND |  |  |  |  |  |
| CLIENT: BORAMA LOCAL MUNICIPALITY |  |  |  |  |  |
| TRADE: CIVIL WORKS |  |  |  |  |  |
| DWG REF: G100 TITLE: HAYAYABE MCH INCINERATOR |  |  |  |  |  |
| DRAWN BY |  | RAADSAN CONSULTANCY |  |  |  |
| REVIEWED BY |  | TAAKULO ORG. |  |  |  |
| APPROVED BY |  | CITY ALLIANCE |  |  |  |
| REVISIONS: |  |  |  |  |  |
| NO. | REVISION |  |  | DATE | APPR. |
| 1 | Initial Drawing |  |  | 02/2026 |  |
| 2 | Final Revision |  |  | 07/2026 |  |
| SCALE : 1:500 |  |  |  | SHEET TYPE: A3 |  |
| DATE : 07/08/2026 |  |  |  | PAGE NO. 5 |  |

0.30

0.10

Foundation depth to be determined on site

and approved by engineer. minimum = 500mm

Typical Cross Section

NGL

75mm thick M25 Grade Concrete Mixed at a ratio of 1:1:2

100mm thick concrete footing M25 Grade Concrete at a ratio of 1:1:2

121050	1585	200

3770

115

Plan View

100 x 100 x 3mm chainlink fencing suitably tied to the horizontal rails and columns

1585

200

115

115

122,43

115

200

1144

Steel column made from 75mm diameter pipe mounted on 200 x 200 mm base plate

This proposed area is for a toilet of delivery ward. See the drawings for the new

toilet.

This wall is the exterior wall of the delivery ward. The window is removed and an opening will be introduced to the toilet .

| CLIENT: FUNDED BY: IMPLEMENTED BY: TECHNICAL IMPLEMENTING PARTNER: DRAWING BY: GENERAL NOTES: - ALL DIMENSIONS ARE IN METERS UNLESS NOTED OTHERWISE. - CONTRACTOR TO CHECK AND VERIFY ALL DIMENSIONS ON SITE BEFORE COMMENCEMENT - DO NOT TAKE DIMENSIONS FROM LAYOUTS, USE STAKEOUT DATA FROM THE DITIGAL DRAWINGS TRANSMITTED TO TOTAL STATION OR GNSS IN RTK MODE IN COLLABORATION WITH THE BENCHMARKS DEVELOPED. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROJECT: TECHNICAL DRAWINGS FOR RENOVATION OF HAYAYABE MCH BORAMA, SOMALILAND |  |  |  |  |  |
| CLIENT: BORAMA LOCAL MUNICIPALITY |  |  |  |  |  |
| TRADE: CIVIL WORKS |  |  |  |  |  |
| DWG REF: G100 TITLE: HAYAYABE MCH DELIVERY WARD TOILET |  |  |  |  |  |
| DRAWN BY |  | RAADSAN CONSULTANCY |  |  |  |
| REVIEWED BY |  | TAAKULO ORG. |  |  |  |
| APPROVED BY |  | CITY ALLIANCE |  |  |  |
| REVISIONS: |  |  |  |  |  |
| NO. | REVISION |  |  | DATE | APPR. |
| 1 | Initial Drawing |  |  | 02/2026 |  |
| 2 | Final Revision |  |  | 07/2026 |  |
| SCALE : 1:500 |  |  |  | SHEET TYPE: A3 |  |
| DATE : 07/08/2026 |  |  |  | PAGE NO. 6 |  |

A	B

A

2.20

2.05

1.90

2.25

2.10

3

3.50

1.10

0.95

2

A

1

Toilet Plan	 Scale: 1:100

Toilet entrance level shall be matched with existing delivery ward existing level.

Septic Tank	 Scale: 1:100

| CLIENT: FUNDED BY: IMPLEMENTED BY: TECHNICAL IMPLEMENTING PARTNER: DRAWING BY: GENERAL NOTES: - ALL DIMENSIONS ARE IN METERS UNLESS NOTED OTHERWISE. - CONTRACTOR TO CHECK AND VERIFY ALL DIMENSIONS ON SITE BEFORE COMMENCEMENT - DO NOT TAKE DIMENSIONS FROM LAYOUTS, USE STAKEOUT DATA FROM THE DITIGAL DRAWINGS TRANSMITTED TO TOTAL STATION OR GNSS IN RTK MODE IN COLLABORATION WITH THE BENCHMARKS DEVELOPED. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROJECT: TECHNICAL DRAWINGS FOR RENOVATION OF HAYAYABE MCH BORAMA, SOMALILAND |  |  |  |  |  |
| CLIENT: BORAMA LOCAL MUNICIPALITY |  |  |  |  |  |
| TRADE: CIVIL WORKS |  |  |  |  |  |
| DWG REF: G100 TITLE: HAYAYABE MCH DELIVERY WARD TOILET |  |  |  |  |  |
| DRAWN BY |  | RAADSAN CONSULTANCY |  |  |  |
| REVIEWED BY |  | TAAKULO ORG. |  |  |  |
| APPROVED BY |  | CITY ALLIANCE |  |  |  |
| REVISIONS: |  |  |  |  |  |
| NO. | REVISION |  |  | DATE | APPR. |
| 1 | Initial Drawing |  |  | 02/2026 |  |
| 2 | Final Revision |  |  | 07/2026 |  |
| SCALE : 1:500 |  |  |  | SHEET TYPE: A3 |  |
| DATE : 07/08/2026 |  |  |  | PAGE NO. 7 |  |

A	B

A

2.20

2.05

1.90

2.25

2.10

3

3.50

1.10

0.95

2

1

A

Toilet Plan	 Scale: 1:100

Chamber with internal dims of 60cm x 60cm

Disability Hand rails to support patient and disable entities.

Toilet entrance level shall be matched with existing delivery ward existing level.

##### TYPICAL GRADE BEAM

SCALE 1 : 50

###### A

A

2Ø12 - 1950

150

150

1650

2Ø12 - 1650

##### TYPICAL TOP TIE BEAM

SCALE 1 : 50

GUAGE 28 CORRU GATED IRON SHEET

7x5cm ZIGBA WOOD PURLIN

12x6cm RAFTER

###### C

C

150

150

2 Ø12 - 1950

1650

2 Ø10 - 1650

PVC PIPE 100 mm

Ø12 C/C 200

Rubble Stone foundation wall, 40cm wide and 40cm depth, PLASTERED internally.

#### Septic Tank.

150 mm R.C. SLAB

PVC PIPE 100mm

10cm RCC Cover

60cm*60cm

#### CHAMBER

SCALE 1 : 50

CEMENT SCREED 100mm THICK R.C SLAB

300mm HARD CORE

Ø8 C/C 200

| CLIENT: FUNDED BY: IMPLEMENTED BY: TECHNICAL IMPLEMENTING PARTNER: DRAWING BY: GENERAL NOTES: - ALL DIMENSIONS ARE IN METERS UNLESS NOTED OTHERWISE. - CONTRACTOR TO CHECK AND VERIFY ALL DIMENSIONS ON SITE BEFORE COMMENCEMENT - DO NOT TAKE DIMENSIONS FROM LAYOUTS USE STAKEOUT DATA FROM THE DITIGAL DRAWINGS TRANSMITTED TO TOTAL STATION OR GNSS IN RTK MODE IN COLLABORATION WITH THE BENCHMARKS DEVELOPED. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROJECT: TECHNICAL DRAWINGS FOR RENOVATION OF HAYAYABE MCH BORAMA, SOMALILAND |  |  |  |  |  |
| CLIENT: BORAMA LOCAL MUNICIPALITY |  |  |  |  |  |
| TRADE: CIVIL WORKS |  |  |  |  |  |
| DWG REF: G100 TITLE: HAYAYABE MCH DELIVERY WARD TOILET |  |  |  |  |  |
| DRAWN BY |  | RAADSAN CONSULTANCY |  |  |  |
| REVIEWED BY |  | TAAKULO ORG. |  |  |  |
| APPROVED BY |  | CITY ALLIANCE |  |  |  |
| REVISIONS: |  |  |  |  |  |
| NO. | REVISION |  |  | DATE | APPR. |
| 1 | Initial Drawing |  |  | 02/2026 |  |
| 2 | Final Revision |  |  | 07/2026 |  |
| SCALE : 1:500 |  |  |  | SHEET TYPE: A3 |  |
| DATE : 07/08/2026 |  |  |  | PAGE NO. 8 |  |

#### SECTION A-A

SCALE 1 : 50

Natural pit shaft rock wall

50

50

150

4Ø12

50

4Ø12

0.15

150

150

150

## TOP TIE BEAM

SECTION C-C

150

Sc,1:20

Ø8c/c150-700

50

50

100

4Ø12

0.40

150

150

115500

## GRADE BEAM

Ø8c/c150-700

0.15

0.20

100

100

50

100

## LINTEL

Ø8c/c150-500

| CLIENT: FUNDED BY: IMPLEMENTED BY: TECHNICAL IMPLEMENTING PARTNER: DRAWING BY: GENERAL NOTES: - ALL DIMENSIONS ARE IN METERS UNLESS NOTED OTHERWISE. - CONTRACTOR TO CHECK AND VERIFY ALL DIMENSIONS ON SITE BEFORE COMMENCEMENT - DO NOT TAKE DIMENSIONS FROM LAYOUTS, USE STAKEOUT DATA FROM THE DITIGAL DRAWINGS TRANSMITTED TO TOTAL STATION OR GNSS IN RTK MODE IN COLLABORATION WITH THE BENCHMARKS DEVELOPED. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROJECT: TECHNICAL DRAWINGS FOR RENOVATION OF HAYAYABE MCH BORAMA, SOMALILAND |  |  |  |  |  |
| CLIENT: BORAMA LOCAL MUNICIPALITY |  |  |  |  |  |
| TRADE: CIVIL WORKS |  |  |  |  |  |
| DWG REF: G100 TITLE: HAYAYABE MCH DELIVERY WARD TOILET |  |  |  |  |  |
| DRAWN BY |  | RAADSAN CONSULTANCY |  |  |  |
| REVIEWED BY |  | TAAKULO ORG. |  |  |  |
| APPROVED BY |  | CITY ALLIANCE |  |  |  |
| REVISIONS: |  |  |  |  |  |
| NO. | REVISION |  |  | DATE | APPR. |
| 1 | Initial Drawing |  |  | 02/2026 |  |
| 2 | Final Revision |  |  | 07/2026 |  |
| SCALE : 1:500 |  |  |  | SHEET TYPE: A3 |  |
| DATE : 07/08/2026 |  |  |  | PAGE NO. 9 |  |

SECTION A-A	Sc,1:20

Sc,1: 20

| CLIENT: FUNDED BY: IMPLEMENTED BY: TECHNICAL IMPLEMENTING PARTNER: DRAWING BY: GENERAL NOTES: - ALL DIMENSIONS ARE IN METERS UNLESS NOTED OTHERWISE. - CONTRACTOR TO CHECK AND VERIFY ALL DIMENSIONS ON SITE BEFORE COMMENCEMENT - DO NOT TAKE DIMENSIONS FROM LAYOUTS, USE STAKEOUT DATA FROM THE DITIGAL DRAWINGS TRANSMITTED TO TOTAL STATION OR GNSS IN RTK MODE IN COLLABORATION WITH THE BENCHMARKS DEVELOPED. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROJECT: TECHNICAL DRAWINGS FOR RENOVATION OF HAYAYABE MCH BORAMA, SOMALILAND |  |  |  |  |  |
| CLIENT: BORAMA LOCAL MUNICIPALITY |  |  |  |  |  |
| TRADE: CIVIL WORKS |  |  |  |  |  |
| DWG REF: G100 TITLE: HAYAYABE MCH PIPE LINE MAP |  |  |  |  |  |
| DRAWN BY |  | RAADSAN CONSULTANCY |  |  |  |
| REVIEWED BY |  | TAAKULO ORG. |  |  |  |
| APPROVED BY |  | CITY ALLIANCE |  |  |  |
| REVISIONS: |  |  |  |  |  |
| NO. | REVISION |  |  | DATE | APPR. |
| 1 | Initial Drawing |  |  | 02/2026 |  |
| 2 | Final Revision |  |  | 07/2026 |  |
| SCALE : 1:500 |  |  |  | SHEET TYPE: A3 |  |
| DATE : 07/08/2026 |  |  |  | PAGE NO. 10 |  |

1

2

inch distribution

pipe total of 40m

3

4

inch supply pipe

total of 350m