## BOQ- School Gender segregated
WORLD VISION SOMALILAND
Bill of Quantities for Gender Segregated twin latrines School
All Unit rates should be included a 3% Sales tax for each line item.
Item NO | Description | Unit | Qty | Unit Cost($) | Total Amount($)
Gender Segregated twin latrines Components
A | Excavation, Foundation and Septic tank Works.
1 | Mobilization of equipment, and materials. Rate shall be inclusive of setting up site, removal of waste materials and demobilization after completion of works. | Ls | 1
1.1 | Clear site of all shrubs, debris, unnecessary materails and cart away from site area of (8x8m). | m2 | 64
1.2 | Digging of the Septic tank hole pit, and carting away all dug soil to an area of about 5m away (1.5mx1.5mx5m). | m3 | 11.25
1.3 | Excavate foundation trench of a twin latrine (15.4m long x 0.4m width x 0.4m depth). | m3 | 2.464
1.4 | Excavate foundation for slab 400mm wide, 800mm deep around the pit 2(2.3+1.5) x0.4x0.8m. | m3 | 2.432
1.5 | Construct a rubble stone foundation for slab, jointed with cement sand mortal (1:3 ratio). 7.6m long, 0.4m deep & 0.4m wide. | m3 | 1.216
1.6 | Construct a masonry stone for foundation of the latrine wall 15.4 m long, 0.4m wide and 0.65m deep including 25cm above the ground level. | m3 | 4.004
1.7 | Back filling, watering and Compacting a 25 cm-thick hardcore durable stone & aggregate (for gap filling). | m3 | 1.7
1.8 | Cast 20cm thick RCC septic tank slab with 12mm bars @ 15cm c/c both ways, the cost is including form work materials and curing, also use a mix ratio of (1:2:4 ). | m3 | 1.058
1.9 | Cast 5cm thick Plain concrete on a backfilled area, the cost is including form work materials and curing, also use a mix ratio of (1:2:4 ). | m3 | 0.34
|  | Sub Total |  |  | 0
B | Super Structure.
2 | Construct a 200mm thick hallow block wall to a height of 2.45m at back side and 2.7m at front side while protection walls height is 2.20m. On a averge wall height of 2.45m.Work includes; scaffolds and all other materials and tools. | m2 | 37.73
2.1 | Cast 150mm x 200mm reinforced concrete lintel beam 1:2:4, 4 Y12 main bars and R6@250mm c/c links will be used. Include all form work. | m3 | 0.462
2.2 | Supply & Fix 3m long and of 4 Inch diameter P.V.C. Vent pipe with screen mesh covered on top end. | m | 3
2.3 | Supply and fix 2m long and of 4 Inch diameter P.V.C waste delivery pipe from toilet seat to a septic tank with a necessary fittings and proper slope as per drawing and world vision engineer's guidance. | No | 2
2.4 | Provide and Install a good quality toilet bowl seat (roman/european) or squatting pan with a necessary fittings and accessories as per drawing and guided by world vision engineer. | pcs | 2
2.5 | Construct entrance ramp with a hand rails as per drawing and engineer's guidance. | Ls | 2
|  | Sub Total |  |  | 0
C | Roofing and finishing works.
3 | Supply & fix 28 gauge pre-painted corrugated iron sheet roofing including wooden truss such as rafters, Purlins, Joists and all necessary nailing works as per design and world vision engineer's guidance. | m2 | 7.98
3.1 | Supply and Fix 15cm thick of facia board around the roof of the latrine with appropriate paiting as guided by the world vision engineer. | m | 11.8
3.2 | Apply 25mm thick of cement/sand plastering on all interior wall faces and all exterior wall and foundation faces. Using mix ratio is 1:4 (sand-cement) and this including Over laying 2cm cement/ sieved sand mortar of 1:3 mixture and cement screed with smooth metal trowel for floor finish. | m2 | 82.14
3.3 | Apply two coats of white-washing on all wall faces with 1:275 lime/white glue ratio on all interior wall surfaces to be smoothed thoroughly before paint applied. | m2 | 82.14
3.4 | Apply two coats of approved distemper paint with stucco on all interior and exterior wall faces by scraching all plaster roughness from the internal walls. | m2 | 82.14
3.5 | Provide and install of steel door with a permanent vent to fit structural opening size 800mm x 2200mm high: comprising of frames, openable solid sash: including all iron mongery and hardware: fixed to concrete or brickwork: complete with all required painting and decoration. | Pcs | 2
3.6 | Supply and fix of Aluminium window of permanent, galvanized steel grill and lockable handle units comprising 50cmx50cmx1.2mm RHS frames, steel mesh as infilling panel; including painting all complete as detailed on drawings, specification and to Engineer's approval | Pcs | 2
3.7 | Transport and Lay a ceramic tiles using 1:2 mix ratio to the latrine floor and entrance space . The cost should include fixing work, required materials and transportation cost of tiles from world vision hargiesa office to the site. The cost should exclude the cost of purchasing tiles. | m2 | 6.8
3.8 | Provide and fix handwashing basin stations with all required pipes, fitting and tapes connected from main water pipe, then connected to the manhole as per wv engineer guidance. | pcs | 2
3.9 | Supply and Print World vision visibility branding with clear message provided by the world vision engineer. | No | 1
|  | Sub Total |  |  | 0
D | Roof water Catchment and water connection.
4 | Excavation, backfilling and compacting of pipeline trenches with a dimensions of 60cm depth, 40cm width and a total lengh of 275m from the main pipe going to the elevated tank at earth dam to school's elevated tank. | m3 | 66
4.1 | Supply and install 2 inch HDPE PN8 plastic pipeline from main pipeline from the main pipeline going to elevated tank at earth dam to school elevated tank. | M | 275
4.2 | Supply and fix 2 cubic meter of PVC tank (Gamuur) having inlet, outlet and Washout pipes as well as water overflow with WV logo and project information as per the Engineers approval. | No | 1
4.3 | Construct 4 inches MS pipe (made in UAE) support with 1.5m high to elevate PVC tank welded with tall sheet of 1.5 mm thick on the basement. The shade of iron sheet should be constructed on top of the PVC tank as per drawing and WVI Engineer guidance. The Cost should include 0.2x0.2m and 0.5m deep of concrete footings. | Ls | 1
4.4 | Provide and fix 45m uPVC White Ogee rain gutter pipe from the roof of a main building to plastic tank, this should tightly fixed as per engineers approval. The cost should include watering system testing and setting proper slope from gutter to the tank. | m | 45
4.5 | Supply and fix using 1-inch HDPE PN8 pipe with its fittings from the school's main water storage to latrines blocks for a distance of 30m. Cost should include excavation pipeline trenches (50cm deep and 40cm wide),back filling, tapes, fittings any other necessary works and materials such us plumping works, fixing pipes through walls and other related works. | m | 30 | 5
Sub Total
Grand Total

## BOQ- MCH water connection
WORLD VISION SOMALILAND
BoQ of Water extension and Roof water harvesting at Riyoxidho Health Facility.
All Unit rates should be included a 3% Sales tax for each line item.
Item N0. | Description of works | Unit | QTY | Unit Cost(USD) | Total Cost in USD
1 | Excavation, backfilling and compacting of pipeline trenches with a dimensions depth of 60cm and 40cm width from main water connection pipeline near elevated tank to MCH's elevated tank for a of distance of 94m | m3 | 22.8
2 | Supply and install 2 inch HDPE Pn8 plastic pipeline from school pipeline to MCH elevated tank. | M | 95
3 | Supply and fix 2 cubic meter of PVC tank (Gamuur) having inlet, outlet and Washout pipes as well as water overflow with WV logo and project information as per the Engineers approval . | No | 1
4 | Construct 4 inches MS pipe (made in UAE) support with 1.5m high to elevate PVC tank welded with tall sheet of 1.5 mm thick on the basement. The shade of iron sheet should be constructed on top of the PVC tank as per drawing and WVI Engineer guidance. The Cost should include 0.2X0.2m and 0.5m deep of concrete footings. | Ls | 1
5 | Provide and fix 30m uPVC White Ogee rain gutter pipe from the roof of a main building to plastic tank, this should tightly fixed as per engineers approval. The cost should include watering system testing and setting proper slope from gutter to the tank. | m | 30
6 | Supply and fix 1-inch HDPE Pn8 pipe with its fittings from the main water system with a distance of 15m long from the tank to the latrines blocks. Cost should include excavation pipeline trenches (50cm deep and 40cm wide),back filling, tapes , fittings any other necessary works and materials such us plumping works, fixing pipes through walls and other related works. | m | 15
|  | Sub Total |  |  | 0
|  | Grand Total |  |  | 0

## Odwayne shallow well rehabilita
World Vision International.
BoQ for Rehabilitation Shallow well at Odwayne MCH in Odwayne district.
All Unit rates should be included a 3% Sales tax for each line item.
N0. | Description of works | Unit | QTY | Unit cost ($) | Total Cost ($)
A | Excavation and earth work
1 | Excavation and remove soil from the well a depth of 14800mm with a 2500mm Diameter to reach the water table and the original depth of the well. | m3 | 72.6125
2 | Concrete lining (2 pc Casting of perforated/Solid reinforced concrete rings 2000m diameter, 600mm deep with 100mm thickness. Use Reinforcement bars of Y10mm mesh at 200mm c/c spacing. the two upper rings should connected and casted onetime with the slab cover. | Pcs | 2
3 | Supply and prepare a dewatering pump as well as diesel and oil for excess water removal from well during operation. | Ls | 1
4 | Construct 200mm thick cover slab with connected to the upper ring (2200mm diameter,200m thickness) 1:2:4 with 12mm bars @15cm c/c spacing. | m3 | 0.68788
5 | Supply and fix 600mm x 600mm metal cover made of 1mm thick flat metal sheet fixed on the opening of top slab of concrete apron with lock holes smoothly clocked and lock with its keys. | Ls | 1
6 | Construct apron wall around the well with the dimension of 500mm width, 1500mm depth (3200mm diameter,500m thickness) 1:2:4 with 12mm bars @15cm c/c spacing. This includes excavation of apron wall for a depth of 1.2m. | m3 | 6.3585
7 | Refix, repair and install the ladder of the well after removal of backfilled sand and paint with anti rust paint as Guided by the world vision engineer. | pcs | 1
8 | Collect and transport gabions from world vision Hargeisa Office then Install and fix 10pcs of gabion with dimension of 2000x1000x1000mm along the lower side of well and pipe, it should excavated and then 0.5m depth to enforce its resistance of floods. | pcs | 10
| Sub total (Excavation and Earth works). |  |  |  | 0
B | Excavation and earth work
1 | Supply and install 50mm High pressure Pvc riser pipe to submersible pump this includes the cost of fittings. | m | 18
2 | Flow control: supply and install original egland Pegler (50mm) 2inch none return valve on top of inlet pipe of the tank to control the flow. | Pcs | 1
3 | Provision, installation and testing of 1 PC of Grundfos SQF 1.2-3 Submersible solar pump power rating with Flow: 1.3 m³/h Total head: 40.2 m, also with a Sensor and pump accessories. | Pcs | 1
4 | Supply and fix 6mm thick blue original submersible water pump cable and install from the shallow well to the connect working non-damaged part of cable, for a distance of 30m. | m | 30
5 | Supply and install cable splicing joint kit. | Set | 1
| Sub total |  |  |  | 0
Grand Total for shallow well Rehabilitation. |  |  |  |  | 0

## Summary
Summary of Construction Gender segregated latrines, construction with water harvesting Systems at Riyo xidho and Odwayne shallow well Rehabilitation for health facility
Item | Description | Amount (USD)
1 | Construction of Gender segregated latrines at Riyoxidho School | 0
2 | Construction of Riyoxidho health facility water harvesting and Water extension system | 0
2 | Odwayne shallow well rehabilitation for health facility | 0
Grand Total cost. |  | 0