## ewinsR.center
FULLY FURNISHED & EQUIPED WOMEN BUSINESS PROMOTION CENTER IN KISMAYO - e-WINS
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
ELEMENT NO. 1
(ALL PROVISIONAL)
PRELIMINARIES
a | Hack existing floor surface in preparation to install well aligned pre-approved non skid tiles and partition walling. | SM | 48 |  | 0
b | Employ highly skilled labor and tools to bore wall shaft to expand or stake out horizontal shafts on the existing wall to make vents and windows for aeration. Cost inclusive of retrofitting with heavy gauge steel angle lines on all sides to ensure structural integrity during and after the wall drilling/boring. (Repair of collapsed walls will be at the contractor's own cost). Reference to the shop drawings at points marked pv - permanent ventilations | SM | 12 |  | 0
c | Allow for planking/shoring and strutting to the sides of the permanent ventilations to ensure there is no collapse. | ITEM | 1 |  | 0
Disposal
d | Allow sum for carting away all material waste from site to selected sites as per the local government code of practice | CM | 12 |  | 0
PARTITION WALLING
e | Pre-approved 4-Inch light weight concrete blocks (or equivalent) for all interior partition walling bedded and jointed in cement and sand (1:4) mortar as in:
| appx 150mm thick no load bearing wall | SM | 60 |  | 0
f | Supply and install a foldable partition wall 2.8m long and appx 2.8m high; reference in attached pictorials | ITEM | 1 |  | 0
| ELEMENT NO 1 CARRIED TO MAIN SUMMARY |  |  |  | 0
ELEMENT NO.2
FINISHES
Tiles
Use highly skilled labor for this item is advised, zero tolerance to errors
| Supply and fix (Ceramic Floor non skid Tiles - 300x300mm Shiny Finish ) tiles | SM | 48 |  | 0
WALL FINISHES
Interior Partition Walls and Internal Walling
EXTERNAL WALL FINISHES
Cement and Sand (1:4) backing
a | Cement sand plaster on masonry surface externally to receive paint | SM | 200 |  | 0
b | Prepare and apply 1 undercoat and two coats of pre-approved paint on the walls as directed by the project manager/designer. Colors as approved by the client | SM | 200 |  | 0
| ELEMENT NO 2 CARRIED TO MAIN SUMMARY |  |  |  | 0
ELEMENT NO 3: SUPPLY OF STATIONERY
WINDOWS AND OPENINGS
a | Fit permanent vents/windows at spots instructed by the engineer. Maximum size of 1200x1200mm. Cost inclusive of all accessories and prepainting of the fixtures | ITEM | 6 |  | 0
STRUCTURE EQUIPPING
TABLES & CHAIRS
DESK
b | This office desk is a four-person workstation designed with two seats on each side facing one another, separated by a central privacy partition that runs the length of the desk. The shared tabletop provides ample space for laptops, documents, and accessories, while the partition—made of fabric, laminate, or frosted glass—rises above desk height to reduce distractions and maintain focus. Integrated cable management channels keep wires organized and out of sight, ensuring a clean and professional appearance. | ITEM | 4 |  | 0
CHAIRS
c | Supply mid level executive chair | ITEM | 16 |  | 0
STORAGE CABINETS
d | Storage Cabinet with 2 Doors and 5 Adjustable Shelves - 71" Steel Lockable File Cabinet,Locks Tool Cabinets for Office. See pictorial reference in attachments | ITEM | 4 |  | 0
DOORS
e | Supply and install pre-approved fully furnished hardwood doors for the internal rooms/offices; all inclusive of mortice locks, framing and all accessories. | ITEM | 4 |  | 0
CHILD FRIENDLY SPACE
This space must be well defined and marked with bright colors and signage.
e | The child friendly space will be about 8SQM. Allow sum to provide artworks, high quality child-sized chairs and tables with a capacity of 6 children, small storage unit for toys, supply of at least 10 different dolls and toys, art station equipped with small sized coloring books, washable markers, crayons, age appropriate toys such as cars, building blocks, puzzles. Give at least 4 play mats or form tiles for safe sitting, tumbing or crawling. Include a small keyboard, xylophones or tambourine | LS | 1 |  | 0
| ELEMENT NO 3 CARRIED TO MAIN SUMMARY |  |  |  | 0
ELEMENT NO 4:
ELECTRICAL WORKS & OTHER WORKS
No wiring is to be exposed, necessary protection works need to be strictly adhered to;
| Allow sum for electrical conduiting and provision of sockets, lighting fixtures, wiring, outlets, switches, surge protection, junction box, resistors and a main switch etc. for every functional space to enable the space Iis usable and ready for future development. | LS | 1 |  | 0
| Supply and install 5 fans (1 per functional space) to keep the room well aerated. Cost inclusive of conduiting and all protection works and anchorage | ITEM | 5 |  | 0
| Supply and install a fast WIFI router and subscribe to six months use for the facility; full with additional router and plugs to ensure every office space is served with adequate internet speeds. 5G speeds or more | LS | 1 |  | 0
| Total Element 4 Carried to the main summary |  |  |  | 0
MAIN SUMMARY
Summary of elements
| ELEMENT 1 - PRELIMINARIES |  |  |  | 0
| ELEMENT 2 - FINISHES |  |  |  | 0
| ELEMENT 3 - STATIONERY |  |  |  | 0
| ELEMENT 4 - ELECTRICAL WORKS & OTHER WORKS |  |  |  | 0
| GRAND TOTAL |  |  |  | 0