## BOQ for Ceelsame well
1 Shallow Well
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | Grand Total Multiply by 20
1 | Mobilization
1.1 | Mobilization | Item | 1 | 0 | 0 | 0
2 | Excavation , well head & well cover |  |  |  |  | 0
2.1 | Excavation of a 2 meter Diameter well to a total depth of 15m, including 1.2m at the buttom which will not be installed in a concrete rings. | m3 | 64.6463 | 0 | 0 | 0
2.2 | Pour siliciaous gravel rocks at the bottom of the well for filtration and protection sedimentation | m3 | 64.6463 | 0 | 0 | 0
2.3 | Construct head of the well , 1 meter above the ground in concrete mix (1:2:4) | m3 | 64.6463 | 0 | 0 | 0
2.4 | Construct the well cover and capping | m3 | 64.6463 | 0 | 0 | 0
| Sub total |  |  |  |  | 0
3 | MASONRY
3.1 | Excavate a masonry Foundation trench around the Concrete rings with an outer diameter of 3m, 1m deep and 0.5m wide. | m3 | 4.71 | 0 | 0 | 0
3.2 | Construct masonary hard core around the concrete Ring sides with a dimension of 0.5m thick and 1 depth including 300mm above ground level and 700mm below G.L as per drawing and world vision engineer's guidance. | m3 | 4.71 | 0 | 0 | 0
| Sub total |  |  |  |  | 0
4 | CONCRETE WORKS
4.1 | Provisional sum for construction and installation of well lining in reinforced concrete culverts 200mm thick, 600mm depth, 1 meter diameter | m3 | 1.0597 |  | 0 | 0
4.2 | Prepare and Cast a Concrete Rings (34 pcs precasted concrete rings with a diameter of 2m, 0.6m deep and 10cm thick. Use 10mm dia steel bars spaced at 150mm c/c on each side and 1:2:4 concrete ratio as per drawing and world vision engineer's guidance. | NO | 34 |  | 0 | 0
| Sub total |  |  |  |  | 0
5 | Sock Pits
5.1 | Excavate the soak pit 2 m3 | LS | 1 |  |  | 0
4.2 | Line the soak pit with retaining brick walls | LS | 1 |  |  | 0
5.3 | Place steel cover on the soak pit (8 mm) | LS | 1 |  |  | 0
5.5 | Connect/Place PVC pipe 4" between apron and soak pit | LS | 1 |  |  | 0
| Sub total | LS | 1 |  |  | 0
6 | MISCELLANEOUS
6.1 | Supply and fix 60cm x 60cm metal cover made of 1mm thick flat metal sheet fixed on the opening of top slab of concrete apron. | Ls | 1 |  |  | 0
6.2 | Supply and install Steel plague with MH Logo. You will be guided by MHS staff (1*1m) with 1.5m stand | Ls | 1 |  |  | 0
| Sub total |  |  |  |  | 0
Total Cost | [5 empty] | 0