ACTIONAID INTERNATIONAL SOMALILAND

Terms of Reference (ToR)

Provision of High-Density Polyethylene (HDPE) Geomembrane Sheeting for Rainwater Harvesting Infrastructure

Project Title: Cultivating the Future – Strengthening Food Security and Resilience of Vulnerable Communities in Maroodijeh Region (Hargeisa and Gabiley Districts)
Donor: Italian Government.
Procurement Reference: RFP/AAIS/PCMSOM24/Geomembrane/2025

1.0 Introduction and Background

ActionAid International Somaliland (AAIS) is implementing the project "Cultivating the Future," funded by the Italian Government, to address water scarcity and food insecurity in the Maroodijeh Region. A key project component involves constructing household-level rainwater harvesting ponds for 200 vulnerable agro-pastoral households.

This Terms of Reference (ToR) outlines the requirements for the procurement, custom-cutting, and delivery of High-Density Polyethylene (HDPE) Geomembrane sheets. These sheets will serve as impermeable liners for the water harvesting ponds, a critical intervention for enhancing water security and community resilience.

- .

2.0 Target Beneficiaries and Locations

The procurement will directly benefit 200 households across the following four locations:

Table 1: Distribution Plan

| No. | Location | Number of Households | Number of HDPE Sheets |
| --- | --- | --- | --- |
| 1 | Beeyo Liibaan | 50 | 50 |
| 2 | Abaarso | 50 | 50 |
| 3 | Gogoysa | 50 | 50 |
| 4 | Xidhinta | 50 | 50 |
| Total |  | 200 | 200 |

3.0 Objective of the Procurement

The primary objective of this procurement is to secure a qualified supplier to provide, custom-cut, and deliver 200 high-quality, durable HDPE Geomembrane sheets to the specified project sites, ensuring the successful and timely implementation of the rainwater harvesting program.

4.0 Scope of Work

The selected supplier shall be responsible for the following:

- Supply and Custom-Cutting: Procure and precision custom-cut 200 sheets of 1.0mm HDPE Geomembrane, each measuring 14m x 8m (Total area: 22,400 m²).

- Quality Assurance: Ensure all materials supplied conform to the technical specifications and ASTM/ISO standards. All sheets must be free from defects.

- Packaging: Securely package the custom-cut sheets for transport to prevent damage.

- Delivery and Logistics: the supplier should indicate the expected date of delivery of the products

  - Primary Delivery: First, deliver all materials to the AAIS Head Office in Hargeisa for initial verification of quantity and quality by the project team.

  - Secondary Distribution: Upon successful verification, transport the materials to the designated distribution points in each of the four (4) project villages listed in Table 1.

- Coordination: Closely coordinate with the AAIS project team to schedule all deliveries.

- Documentation: Provide all necessary shipping and customs clearance documents, including delivery notes, waybills, and detailed packing lists.

5.0 Mandatory Supplier Requirements

The supplier must meet the following mandatory criteria to be considered:

- Must be an ISO-certified manufacturer or authorized distributor of HDPE Geomembranes.

- Must provide a valid copy of their ISO certification.

- Must provide a comprehensive Product Data Sheet (PDS) and Certificate of Conformity (CoC) for the supplied materials.

- Must demonstrate that the required material is in stock and ready for immediate dispatch.

- Must provide evidence of prior experience in supplying and custom-cutting HDPE geomembrane sheets of a similar scale and size.

- All materials must comply with ASTM/ISO standards as specified in Section 9.0. Tax Clearance Certificate

- Valid Company License and registration Certificate

- Tax Clearance Certificate

6.0 Bill of Quantities (BoQ) and Technical Specifications

Table 2: BoQ and Specifications

| No. | Item Description | Quantity / Unit | Technical Specifications |
| --- | --- | --- | --- |
| 1 | HDPE Geomembrane Sheet (Black, Smooth Finish) - Custom Cut | 200 sheets (14m x 8m each) Total: 22,400 m² | Standard: ASTM/ISO Certified Thickness: 1.0mm Density: ≥ 0.94 g/cm³ Tear Resistance: ≥ 135 N Puncture Resistance: ≥ 360 N UV Resistance: Carbon Black (2-3%) Tolerance: ±5 cm on cut dimensions |
| 2 | Transport, Logistics & Insurance | Lump Sum | Inclusive of all costs for delivery to AAIS Head Office and subsequent distribution to all four (4) project sites, including secure packaging, loading, unloading, and full insurance. |

Note: All materials must be new, of premium quality, and suitable for long-term, buried waterproofing applications in a harsh climate.

Annex 1 – List of Delivery Locations

| No. | Location | Number of HDPE Sheets | Remarks |
| --- | --- | --- | --- |
| 1 | Beeyo Liibaan | 50 | 50 sheets (14m x 8m each) Total: 5,600 m² |
| 2 | Abaarso | 50 | 50 sheets (14m x 8m each) Total: 5,600 m² |
| 3 | Gogoysa | 50 | 50 sheets (14m x 8m each) Total: 5,600 m² |
| 4 | Xidhinta | 50 | 50 sheets (14m x 8m each) Total: 5,600 m² |
|  | Total | 200 | 200 sheets (14m x 8m each) Total: 22,400 m² |

Submission deadline:

All proposals must be submitted no later than November 13, 2025, at 4:00 P.M. via email to admin.somaliland@actionaid.org  Submissions received after the deadline will not be considered.

9.0. Disclaimer

ActionAid International Somaliland reserves the right to amend the terms, reject

any or all bids, or cancel the procurement process without prior notice